ESAC Request 2023-01

EURL ECVAM Scientific Advisory Committee

(ESAC)

EURL ECVAM REQUEST FOR ESAC ADVICE

on the

Scientific Validity of the

3D reconstructed human skin Comet assay (RS Comet)

and

3D reconstructed human skin micronucleus assay (RSMN)

| Title page information |  |
| --- | --- |
| Abbreviated title of ESAC Request | RSCOMET-RSMN |
| ESAC Request Nr. | 2023-01 |
| Template used for preparing Request | EP 3.02 |
| Date of finalising Request | ??/??/2023 |
| Date of submitting Request to ESAC | 16/02/2023 |
| Request discussed through | ESAC 48 (February 2023) and written procedure |
| Opinion expected at (date) | ESAC 49 (date tbd) |
| File name of this Request | ER2023-01_ESAC_REQUEST_RS_COMET_&_RSMN.doc |

Table of Contents

1.	TYPE OF REQUEST	3

2.	TITLE OF STUDY OR PROJECT FOR WHICH SCIENTIFIC ADVICE OF THE ESAC IS REQUESTED	4

3.	BRIEF DESCRIPTION OF THE STUDY OR PROJECT	4

4.	OBJECTIVES, QUESTIONS, TIMELINES	5

4.1 	OBJECTIVE	5

4.2 	QUESTION(S) TO BE ADDRESSED	5

4.3 	TIMELINES	6

5. 	EURL ECVAM PROPOSALS ON HOW TO ADDRESS THE REQUEST WITHIN ESAC	7

5.1 	EURL ECVAM PROPOSAL REGARDING REQUEST-RELATED STRUCTURES REQUIRED	7

5.2 	DELIVERABLES AS PROPOSED BY EURL ECVAM	7

6.	LIST OF DOCUMENTS TO BE MADE AVAILABLE TO THE ESAC	8

7.	TERMS OF REFERENCE OF THE ESAC SUB-GROUP	10

7.1	ESTABLISHMENT OF THE ESAC SUB-GROUP	10

7.2	TITLE OF THE ESAC SUB-GROUP	10

7.3	MANDATE OF THE ESAC SUB-GROUP	10

7.4	DELIVERABLES OF THE ESAC SUB-GROUP	10

7.5	PROPOSED TIMELINES OF THE ESAC SUB-GROUP	10

7.6	QUESTIONS WHICH SHOULD BE ADDRESSED BY THE ESAC SUB-GROUP	12

7.7	REPORTING TEMPLATE	12

- 1.	TYPE OF REQUEST

| Request Type | Identify request (YES) |  |
| --- | --- | --- |
| R1 ESAC Peer Review of a Validation Study | YES, external validation study not coordinated by EURL ECVAM |  |
| If R1)applies please specify further: |  |  |
| ►Prospective Validation Study | YES The RS Comet assay submission reports the outcome of a within-laboratory reproducibility assessment using 24 test items, a transferability study carried out with 1 test item, and an inter-laboratory study in three laboratories with 8 test items. The predictive capacity was assessed using 32 test items (8 test items were not correctly predicted). The RSMN assay submission reports the outcome of a within-laboratory reproducibility assessment using 38 test items, a transferability study carried out with 7 test items, and an inter-laboratory study in two, three or four laboratories with 22 test items. The predictive capacity was assessed using 43 test items (13 test items were not correctly predicted). |  |
| ►Retrospective Validation Study | NO |  |
| ►Validation Study based on Performance Standards | NO |  |
| R2 Scientific Advice/Opinion on a test method submitted to EURL ECVAM for validation (e.g. the test method's biological relevance, etc.) |  | NO |
| R3 Other Scientific Advice/Opinion (e.g. on test methods, their use; on technical issues such as cell culturing, stem cells, definition of performance standards; etc.) |  | NO |

- 2.	TITLE OF STUDY OR PROJECT FOR WHICH SCIENTIFIC ADVICE OF THE ESAC IS REQUESTED

External validation of the RS Comet and RSMN genotoxicity assays

- 3.	BRIEF DESCRIPTION OF THE STUDY OR PROJECT

The RS Comet Assay is an in vitro genotoxicity assay. It is an adaptation of the known alkaline comet assay, which measures DNA strand breaks in eukaryotic cells and for which an OECD in vivo mammalian Test Guideline is currently available (OECD TG 489). The RS Comet Assay has been designed in a three-dimensional reconstructed human skin (RHS) model. The method uses specifically the Phenion® Full-Thickness Skin Model which is composed of human primary keratinocytes and fibroblasts cultured under air-liquid-interface conditions on a collagen scaffold. The Phenion® Full-Thickness Skin Model resembles the fully differentiated epidermis and the underlying dermis. The RS Comet Assay has been presented as a relevant in vitro test method to investigate DNA damage after dermal exposure and to follow up positive results from the standard in vitro genotoxicity test battery (particularly for substances under regulations that prohibit or limit in vivo testing). The RS Comet Assay has undergone full validation and the Test Submitter (TS) requested EURL ECVAM to consider it for peer-review. The full Test Submission, received on May 2021, included a detailed test protocol (SOP) together with data annexes and bibliography describing the validation study, the properties of full-thickness skin model, and strategic use of the RS Comet Assay, including in a regulatory context (i.e., under the Cosmetics Regulation). The RSMN is an in vitro assay developed to address the effect of toxicity to the genome. It is an adaptation of the well-established in vivo and in vitro micronucleus tests (OECD TG 474 and OECD TG487). The RSMN has been designed in a three-dimensional reconstructed human epidermis (RhE) model: the EpiDerm™ (MatTek, Ashland, USA). The EpiDerm™ model is cultured from normal human epidermal keratinocytes derived from neo-natal foreskin tissue on specially prepared tissue culture inserts. The EpiDerm™ resembles the structure, morphology, and xenobiotic metabolism of the human epidermis (Hu et al., 2010; Gotz et al., 2012; Hewitt et al., 2013; Yuki et al., 2013) and it is of high biological relevance when assessing the genotoxic potential of test items via dermal exposure route. The RSMN is intended to be used within regulatory genotoxicity hazard identification testing strategies to follow up positive results from the classical in vitro test battery, which is used as a first step. It is proposed to be used instead of in vivo genotoxicity test methods (e.g., OECD TG 474 and TG 475) in the context of test items that are causing clastogenic (chromosomal breaks and translocations) or aneugenic (abnormal number of chromosomes) effects in vitro and are primarily associated with dermal exposure. The RSMN Assay has undergone full validation and the TS requested EURL ECVAM to consider it for peer-review. The full test submission, received in 2021, included a detailed test protocol (SOP) together with data annexes and bibliography describing the validation study, the properties of skin model, and strategic use of the RSMN, including in a regulatory context (i.e., under the Cosmetics Regulation). EURL ECVAM has assessed the readiness of both methods (RS Comet and RSMN assays) to enter peer review by evaluating the completeness and quality of the information provided for each of the following relevant modules: test definition, within-laboratory reproducibility (WLR), transferability, between-laboratory reproducibility (BLR), predictive capacity and applicability domain. Suggestions for performance standards (PS) were not provided. Nevertheless, since performance standards are considered as optional at this stage, the lack of information did not affect the EURL ECVAM assessment. The TS highlighted that the RS Comet and RSMN assays can be used together to cover all genotoxicity endpoints that usually need to be addressed for regulatory purposes (i.e., gene mutation, clastogenicity, and aneugenicity). Therefore, the methods have a potential impact on the 3Rs. They provide a viable follow-up solution of high human relevance for testing dermally exposed chemicals, both under regulations that allow animal testing and under regulations that prohibit in vivo testing, such as the EU cosmetics regulation. Based on the mechanistic and biological relevance of the two test methods and the information provided by the TS, EURL ECVAM concludes that the RS Comet and RSMN assays are ready to undergo a peer review. It will thus mandate the EURL ECVAM Scientific Advisory Committee (ESAC) to conduct an independent peer review of the validation of both methods.

- 4.	OBJECTIVES, QUESTIONS, TIMELINES

- 4.1 	OBJECTIVE

| Objective Why does EURL ECVAM require advice on the current issue? | The opinion of ESAC should provide expert advice to EURL ECVAM on the scientific validity of the RS Comet and RSMN assays in order to support the regulatory use of these assays as well as the development of OECD Test Guideline/s. The opinion should outline: (1) the scientific basis of the two methods, (2) their overall performance (reliability and relevance) as assessed during the validation studies, (3) their applicability and limitations, and (4) the use of the two methods in combination within a genotoxicity assessment, as proposed by the TS. |
| --- | --- |

- 4.2 	QUESTION(S) TO BE ADDRESSED

| Questions What are the questions and issues that should be addressed in view of achieving the objective of the advice? | The ESAC is invited to review the available evidence as provided within the two submissions, and provide an opinion on the following points: - Scientific validity of the RS Comet and RSMN assays to follow up positive results from the established in vitro test battery. - Strategic and practical use of the combination of the RS Comet and RSMN assays within a genotoxicity assessment, as proposed by the TS. The ESAC is invited to fill in the ESAC Subgroup report and answer the following questions: - STUDY OBJECTIVE AND DESIGN. Appropriateness of the study execution and the statistical analysis used. - COLLECTION OF EXISTING DATA - QUALITY ASPECTS RELATING TO DATA GENERATED DURING THE STUDY - QUALITY OF DATA USED FOR THE PURPOSE OF THE STUDY (EXISTING AND NEWLY GENERATED) - TEST DEFINITION (MODULE 1) - TEST MATERIALS. Is the number of tested chemicals sufficient to address the objectives of the study? Was the identification of chemicals conducted in an appropriate manner (i.e. presence or absence of selection criteria, justification etc.)? In case of gaps (chemical class etc.) – are these justified? - WITHIN-LABORATORY REPRODUCIBILITY (WLR) (MODULE 2). Are the conclusions on reproducibility (WLR) justified and plausible? - TRANSFERABILITY (MODULE 3). Are the conclusions on transferability justified and plausible? - BETWEEN-LABORATORY REPRODUCIBILITY (BLR) (MODULE 4). Is the number of laboratories and the number of independent runs performed by each laboratory sufficient to address the objectives of the study? Are the conclusions on reproducibility (BLR) justified and plausible? - PREDICTIVE CAPACITY AND OVERALL RELEVANCE (MODULE 5). Are the conclusions on the relevance (predictive capacity) justified and plausible with respect to existing information? - APPLICABILITY DOMAIN (MODULE 6). Is the information provided on the applicability and possible limitations of the two test methods sufficient? - CONCLUSIONS ON THE STUDY. Are there possible gaps between study design and study conclusions which remain to be addressed in view of the suggested conclusions / proposed use of the method? Is the information provided by the test submitter sufficient to substantiate the proposed use of the two test methods? - RECOMMENDATIONS |
| --- | --- |

- 4.3 	TIMELINES

| Timelines concerning this request When does EURL ECVAM require the advice? | Timeline | Indication |
| --- | --- | --- |
|  | Finalised ESAC Opinion required by: | ESAC 49 (date tbd) |
|  | Request to be presented to ESAC by written procedure (e.g. due to urgency) prior to the next ESAC | NO |
|  | Request to be presented to ESAC at ESAC plenary meeting | YES, at ESAC 48 (February, 2023) |

- 5. 	EURL ECVAM PROPOSALS ON HOW TO ADDRESS THE REQUEST WITHIN ESAC

- 5.1 	EURL ECVAM PROPOSAL REGARDING REQUEST-RELATED STRUCTURES REQUIRED

| Specific structures required within ESAC to address the Request Does the advice require an ESAC Sub-Group, an ESAC Rapporteur, etc.? | Structure(s) required | Required according to EURL ECVAM? (YES/NO) |
| --- | --- | --- |
|  | S1 ESAC Rapporteur | NO |
|  | S2 ESAC Sub-Group | YES ESAC core members - To be decided (Chair) ESAC ad-hoc members - To be decided |
|  | S3 Invited Experts | NO |
|  | Ad S3: If yes – list names and affiliations of suggested experts to be invited and specify whether these are member of the EEP |  |
|  | If other than above (S1-S3): | NO |

- 5.2 	DELIVERABLES AS PROPOSED BY EURL ECVAM

| Deliverables What deliverables (other than the ESAC Opinion) are required for addressing the Request? | Title of deliverable other than ESAC Opinion | Required? (YES/NO) |
| --- | --- | --- |
|  | D1 ESAC Rapporteur Report and draft Opinion | NO |
|  | D2 ESAC Sub-Group Peer Review Report and draft Opinion | YES |
|  | If other than above (D1-D2): | NO |

- 6.	LIST OF DOCUMENTS TO BE MADE AVAILABLE TO THE ESAC

| Count | Description of document For RS Comet Assay | Already available? (YES/NO) | File name |
| --- | --- | --- | --- |
| 1 | Standard operating procedure for RS Comet Assay | YES | A1.1 RS Comet assay SOP 210203 |
| 2 | Overview of the Comet assay protocol | YES | A1.2 RS Comet protocol overview 210503 |
| 3 | List of chemicals used during Comet assay development and optimization | YES | A2 RS Comet test item development and optimization 210503 |
| 4 | Outcome of RS Comet experiments performed to evaluate the within laboratory reproducibility | YES | A4 RS Comet WLR 210503 |
| 5 | Outcome of RS Comet experiments performed to evaluate the between laboratory reproducibility | YES | A8 RS Comet BLR 210503 |
| 6 | Results of the RS Comet validation | YES | A9 RS Comet detailed validation results 210503 |
| 7 | Reference data | YES | A10 RS Comet reference data 210503 |
| 8 | Table summarizing the chemicals tested in each phase of the Comet Assay validation | YES | A14 RS Comet Overview table of substances 210503 |
| 9 | Test Submission on Comet Assay | YES | TM2020-01_TST RS Comet 230201 |
| 10 | EUR ECVAM Assessment Report on the Comet assay submission | YES | TM2020-01_Report On The Full Test Submission Assessment |
| 11 | Mail exchanged with the test submitter | YES | Email_exchange_withSubmitter |
| 12 | List of provided references | YES | ProvidedReferences |
| 13 | Raw data submitted by test developer | YES | Supplementary Info_raw data |

| Count | Description of document For RSMN | Already available? (YES/NO) | File name |
| --- | --- | --- | --- |
| 1 | Protocol of the RSMN test method | YES | A1 RSMN protocol 210913 |
| 2 | List of chemicals used during RSMN test development and optimization | YES | A2 RSMN test item development and optimization 210902 |
| 3 | Outcome of RSMN experiments performed to evaluate the within laboratory reproducibility | YES | A4 RSMN WLR 210902 |
| 4 | List of Chemicals used for the transferability studies | YES | A5 RSMN test items transferability 210902 |
| 5 | Outcome of RSMN experiments performed to evaluate the between laboratory reproducibility | YES | A8 RSMN BLR 210902 |
| 6 | Results of the RSMN validation | YES | A9 RSMN detailed validation results 210902 |
| 7 | Reference data | YES | A10 RSMN reference data 210910 |
| 8 | Table summarizing the chemicals tested in each phase of the RSMN validation | YES | A14 RSMN Overview table of substances 210902 |
| 9 | Test Submission on RSMN | YES | TM2020-04_TST RSMN 230201 |
| 10 | EUR ECVAM Assessment Report on the RSMN test submission | YES | TM2020-04_Report On The Full Test Submission Assessment |
| 11 | List of provided references | YES | ProvidedReferences |
| 12 | Raw data submitted by test developer | YES | Supplementary Info_raw data |

- 7.	TERMS OF REFERENCE OF THE ESAC SUB-GROUP

- 7.1	ESTABLISHMENT OF THE ESAC SUB-GROUP

The ESAC unanimously agreed on the composition of a new ESAC Sub-Group for the review of the scientific validity of the RS Comet and RSMN assays on the [DATE] by written procedure.

- 7.2	TITLE OF THE ESAC SUB-GROUP

Full title:

ESAC Sub-Group on RS Comet and RSMN Assays

Abbreviated title:

ESAC SG RSCOMET-RSMN

- 7.3	MANDATE OF THE ESAC SUB-GROUP

The ESAC SG is requested to conduct a review of the scientific validity of the RS Comet and RSMN genotoxicity assays in view of their proposed regulatory application. The review needs to address the questions put forward to ESAC by EURL ECVAM under section 4.2 of the current request. The ESAC is also requested to formulate and address any additional questions it sees fit for this particular review.

The review should focus on the appropriateness of design and conduct of two studies in view of the

study objectives. It should also provide an appraisal to which extent the conclusions of the test submitter are substantiated by the information generated during the studies and how the information generated relates to the scientific background available.

- 7.4	DELIVERABLES OF THE ESAC SUB-GROUP

The ESAC SG is requested to deliver to the chair of the ESAC and the ESAC Coordinator a detailed ESAC Sub-Group Report outlining its analyses and conclusions and a draft ESAC Opinion. A template intended to facilitate the drafting of the SG Report is available and will be provided by the ESAC Coordinator (see section 7.7).

The conclusions drawn in the Report should be based preferably on consensus. If no consensus can be achieved, the Report should clearly outline the differences in the appraisals and provide appropriate scientific justifications.

- 7.5	PROPOSED TIMELINES OF THE ESAC SUB-GROUP

| Item | Proposed date/time | Action | Deliverable |
| --- | --- | --- | --- |
| 1 | ESAC48, February 2023 | Agreement on the mandate | Mandate |
| 2 | ESAC48, February 2023 | Identification of the ESAC members participating to the SG | Identification of Sub-Group Chair |
| 3 |  | Establishment of ESAC SG | Composition of the ESAC SG |
| 4 |  | Teleconference of the ESAC SG | Agree procedure |
| 5 |  | ESAC SG meeting | Draft ESAC SG Report and draft ESAC Opinion |
| 6 |  | Circulation of final SG Report and draft ESAC Opinion to ESAC | Final draft ESAC SG Report and draft ESAC Opinion |
| 7 |  | Endorsement of SG Report and ESAC Opinion at ESAC49 meeting | Final ESAC SG Report and ESAC Opinion |

- 7.6	QUESTIONS WHICH SHOULD BE ADDRESSED BY THE ESAC SUB-GROUP

The review should address the questions put forward to ESAC by EURL ECVAM (see section 4.2) and the information requirements of the ESAC Sub-Group Template, where applicable. The ESAC Coordinator will provide guidance if needed.

When preparing the final ESAC SG Report to address these questions, the ESAC SG is requested to use a pre-defined reporting template. This template (see section 7.7) follows EURL ECVAM's modular approach and addresses to which extent the standard information requirements have been addressed by the study. The template allows moreover for addressing the issues specific to this study as outlined in section 4.2. The ESAC Coordinator will provide guidance if necessary.

- 7.7	REPORTING TEMPLATE

The ESAC SG template suggests a structure that is in close agreement with the EURL ECVAM information requirements ("modules") for scientific review following validation and allows at the same time for the description of the analysis and conclusions concerning more specific questions.

The template can be used for various types of validation studies (e.g. prospective full studies, retrospective studies and performance-based studies). Depending on the study type and the objective of the study, not all sections may be applicable.

However, for reasons of consistency and to clearly identify which information requirements have not been sufficiently addressed by a specific study, this template is uniformly used for the evaluation of validation studies.

The current template is

TEMPLATE_ESAC_SUBGROUP_REPORT_20230113.doc