## Calendar
COLIPA STUDIES
Ship Date | Supplier | # Tissues | Experiment | Shipping Comments | Experiment Comments
2008-11-03 | MatTek EpiDerm™ | 48 | 20081103 Coded Chem. A-1 and C-4 48/48h, and other | tissues arrived on time, but unable to get coded chemical B-8 | A-1 is negative and Chemical C-4 is positive but invalid
2008-11-17 | MatTek EpiDerm™ | 48 | 20081117 Coded Chem. A-1 and C-4 48/48h, and other | tissues arrived on time, but unable to get coded chemical B-8 | A-1 is negative and Chemical C-4 is positive but invalid
2008-12-01 | MatTek EpiDerm™ | 24 | 20081201 Coded Chemical B8 48/48h | arrived on time | B-8 is positive
2008-12-15 | MatTek EpiDerm™ | 48 | 20081215 Coded Chemical B8 repeat 48/48h, and other | arrived on time | B-8 is positive
2009-03-16 | MatTek EpiDerm™ | 48 | 20090316 Chemical C4, and other | arrived on time | C-4 is positive
2009-04-13 | MatTek EpiDerm™ | 48 | 20090413 Chemical C-4, and other | arrived on time | C-4 is positive

## Nov. 3, 2008 A-1
P&G Experiment Number: 20081103 | [6 empty] | IV. Results: Controls- MMC control tissues are positive averaging 1.45% MNBN per thousand BN cells,and statistically significant (p<0.05) Acetone control tissues are negative averaging 0.17% MNBN per thousand cells. COLIPA coded chemical A-1 - At highest concentration proposed by COLIPA, no toxicity by % relative binucleation, nor % relative cell count. Chemical A-1 is negative for MNBN at all doses tested. COLIPA coded chemical C-4 is toxic at concentrations above 2500µg/ml. At concentrations of 1000 and 2500µg/ml, C-4 is positive for MNBN and statistically significant (<0.05)
Date of tissue shipment |  | 2008-11-03
Date Received: |  | 2008-11-04
Tissue model & lot #, donor |  | MatTek EpiDerm™, lot 10768, kits C and D, donor 254
Name of protocol |  | modified IIVS
Date of experiment |  | 2008-11-04
incubation time |  | 48 hours
# Tissues |  | 48
I. Purpose: COLIPA blinded study. The details can be found in the table below in the "Work Plan".
II. Method: We will use modified IIVS MN protocol. Note: COLIPA recommendation for dose range of coded chemicals: A-1 up to 100mg/ml, B-8 1 - 20 µg/ml C-4 250 - 9000µg/ml
III. Work Plan: Tuesday am: unpack tissues and transfer to 6 well labeled TC plates containing 1ml of warm NMM (provided) per well. Allow tissues to recover overnight in a 37ºC, 5% CO2 incubator. Wednesday am: Make fresh concentrations of all test articles and controls, change media to NMM w/3µg/ml cytochalasin B (cytoB), apply a 10µl topical dose of each coded chemical concentration to each of 3 tissues, plus controls (first dose is 0hr). Thursday am: Make fresh concentrations of all test articles and controls,change to freshly made NMM w/ 3µg/ml cytoB and apply the second 10µl topical dose to tissues and controls (24h). Friday am: Harvest (48h) and process cells from tissues. | [6 empty] | V. Conclusions: C-4 does not meet the criteria of three non-toxic contentrations for a valid assay and will be repeated. A-1 Unable to demonstrate toxicity at 100mg/ml which is the highest concentration allowed, VI. Recommendations: repeat C4 using less toxic concentrations.
III. Work Plan 2 doses, 48hr CytB, 48hr harvest
Identity and Concentration | # tissues | Monday | Tuesday | Wednesday | Thursday | Friday
acetone | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
MMC 3 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code A-1 5000 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code A-1 15000 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code A-1 50000 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code A-1 75000 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code A-1 100000 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest | [5 empty] | III. Work Plan 3 doses, 48hr CytB, 48hr harvest
Identity and Concentration | # tissues | Monday | Tuesday | Wednesday | Thursday | Friday
Code C-4 1000 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest | [5 empty] | MMC 3 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 2500 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest | [5 empty] | 4-NQO 75µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 4000 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest | [5 empty] | 4-NQO 150 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 5000 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest | [5 empty] | 4-NQO 200 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 7000 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest | [5 empty] | MMC 3 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 9000 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
39
20081103 Summary Table
48hr harvest /48hr CytB Test Article | Test Article Conc. (µg/ml) | Avg. Relative % Binuc. | SD of Relative % Binuc. | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count | Avg. MN% | Total MN | Total BN | P value
acetone | 0 | 99.9999 | 6.3145 | 100.0018 | 46.2466 | 0.16667 | 0.057735 | 3000 |  | 5
Code A-1 | 5000 | 100.2463 | 12.0638 | 96.3559 | 29.4126 | 0.23293 | 0.1521 | 3003 | 0.3878 | 7
Code A-1 | 15000 | 99.4631 | 7.3489 | 86.4599 | 16.4127 | 0.13327 | 0.05762 | 3001 | 0.7464 | 4
Code A-1 | 50000 | 115.2494 | 25.9556 | 100.0018 | 29.8111 | 0.2332 | 0.05785 | 3002 | 0.3875 | 7
Code A-1 | 75000 | 101.8565 | 12.1303 | 94.7933 | 19.2852 | 0.23313 | 0.057389 | 3002 | 0.3875 | 7
Code A-1 | 100000 | 81.1831 | 17.1066 | 97.9184 | 22.8756 | 0.29947 | 0.17274 | 3004 | 0.2124 | 9
acetone | 0 | 99.9999 | 6.3145 | 100.0018 | 46.2466 | 0.16667 | 0.057735 | 3000
Code C-4 | 1000 | 90.0353 | 7.3187 | 98.9601 | 20.3329 | 0.43333 | 0.32146 | 3000 | 0.0479
Code C-4 | 2500 | 54.0665 | 3.0463 | 98.9601 | 8.0183 | 1.5 | 0.51962 | 3000 | 0
Code C-4 | 4000 | 28.0544 | 3.5516 | 75.5222 | 36.9872 | 0.5 |  | 1000
Code C-4 | 5000 | 23.5689 | 2.5413 | 79.1681 | 15.6513
Code C-4 | 7000 | 15.2588 | 5.9901 | 104.1685 | 25.4521
Code C-4 | 9000 | 17.0906 | 2.5231 | 84.3765 | 6.8109
acetone | 0 | 99.9999 | 6.3145 | 100.0018 | 46.2466 | 0.16667 | 0.057735 | 3000 |  | 5
MMC | 3 | 87.8861 | 10.4358 | 102.097 | 5.8675 | 1.4488 | 0.38869 | 3032 | 0 | 44
Raw Data
48hr harvest /48hr CytB Test Article | Test Article Conc. (µg/ml) | G1 Bi% | G2 Bi% | G3 Bi% | Avg. Bi% | Std Dev | G1 Relative % Binuc. | G2 Relative % Binuc. | G3 Relative % Binuc. | Avg. Relative % Binuc. | SD of Relative % Binuc.
acetone | 0 | 43.0075 | 40.7186 | 37.8968 | 40.541 | 2.56 | 106.084 | 100.438 | 93.4778 | 99.9999 | 6.3145
Code A-1 | 5000 | 38.7226 | 37 | 46.2 | 40.6409 | 4.8908 | 95.5146 | 91.2656 | 113.9587 | 100.2463 | 12.0638
Code A-1 | 15000 | 43.2 | 37.251 | 40.519 | 40.3233 | 2.9793 | 106.5588 | 91.8847 | 99.9456 | 99.4631 | 7.3489
Code A-1 | 50000 | 44.7525 | 37.3253 | 58.092 | 46.7233 | 10.5227 | 110.3882 | 92.0682 | 143.292 | 115.2494 | 25.9556
Code A-1 | 75000 | 44.7106 | 43.513 | 35.6574 | 41.2936 | 4.9177 | 110.2848 | 107.3308 | 87.9539 | 101.8565 | 12.1303
Code A-1 | 100000 | 28.7425 | 29.0766 | 40.9182 | 32.9124 | 6.9352 | 70.8974 | 71.7215 | 100.9303 | 81.1831 | 17.1066
acetone | 0 | 43.0075 | 40.7186 | 37.8968 | 40.541 | 2.56 | 106.084 | 100.438 | 93.4778 | 99.9999 | 6.3145
Code C-4 | 1000 | 34.6 | 34.9835 | 39.9202 | 36.5012 | 2.9671 | 85.3457 | 86.2917 | 98.4686 | 90.0353 | 7.3187
Code C-4 | 2500 | 23.2441 | 21.7131 | 20.8 | 21.9191 | 1.235 | 57.3349 | 53.5585 | 51.3061 | 54.0665 | 3.0463
Code C-4 | 4000 | 12.8 | 9.9206 | 11.4 | 11.3735 | 1.4399 | 31.573 | 24.4706 | 28.1197 | 28.0544 | 3.5516
Code C-4 | 5000 | 10.3792 | 9.8859 | 8.4 | 9.5551 | 1.0303 | 25.6018 | 24.385 | 20.7198 | 23.5689 | 2.5413
Code C-4 | 7000 | 5.7582 | 8.8 | 4 | 6.1861 | 2.4284 | 14.2033 | 21.7064 | 9.8666 | 15.2588 | 5.9901
Code C-4 | 9000 | 7.1918 | 7.7944 | 5.8 | 6.9287 | 1.0229 | 17.7395 | 19.2259 | 14.3065 | 17.0906 | 2.5231
acetone | 0 | 43.0075 | 40.7186 | 37.8968 | 40.541 | 2.56 | 106.084 | 100.438 | 93.4778 | 99.9999 | 6.3145
MMC | 3 | 39.5387 | 36.2132 | 31.1377 | 35.6299 | 4.2308 | 97.5277 | 89.325 | 76.8055 | 87.8861 | 10.4358
48hr harvest /48hr CytB Test Article | Test Article Conc. (µg/ml) | G1 Total BN | G2 Total BN | G3 Total BN | Total BN | Total MN | G1 MN% | G2 MN% | G3 MN% | Avg. MN% | Std Dev
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 5 | 0.2 | 0.2 | 0.1 | 0.16667 | 0.057735
Code A-1 | 5000 | 1000 | 1003 | 1000 | 3003 | 7 | 0.2 | 0.3988 | 0.1 | 0.23293 | 0.1521
Code A-1 | 15000 | 1000 | 1000 | 1001 | 3001 | 4 | 0.1 | 0.1 | 0.1998 | 0.13327 | 0.05762
Code A-1 | 50000 | 1001 | 1000 | 1001 | 3002 | 7 | 0.1998 | 0.3 | 0.1998 | 0.2332 | 0.05785
Code A-1 | 75000 | 1000 | 1000 | 1002 | 3002 | 7 | 0.2 | 0.2 | 0.2994 | 0.23313 | 0.057389
Code A-1 | 100000 | 1000 | 1003 | 1001 | 3004 | 9 | 0.1 | 0.3988 | 0.3996 | 0.29947 | 0.17274
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 5 | 0.2 | 0.2 | 0.1 | 0.16667 | 0.057735
Code C-4 | 1000 | 1000 | 1000 | 1000 | 3000 | 13 | 0.2 | 0.3 | 0.8 | 0.43333 | 0.32146
Code C-4 | 2500 | 1000 | 1000 | 1000 | 3000 | 45 | 0.9 | 1.8 | 1.8 | 1.5 | 0.51962
Code C-4 | 4000 | 1000 |  |  | 1000 |  | 0.5 |  |  | 0.5
Code C-4 | 5000
Code C-4 | 7000
Code C-4 | 9000
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 5 | 0.2 | 0.2 | 0.1 | 0.16667 | 0.057735
MMC | 3 | 1016 | 1000 | 1016 | 3032 | 44 | 1.6732 | 1 | 1.6732 | 1.4488 | 0.38869
48hr harvest /48hr CytB Test Article | Test Article Conc. (µg/ml) | G1 Total cell count X 105 | G2 Total cell count X 105 | G3 Total cell count X 105 | Avg. Total cell count X 105 | SD Total Cell Count | G1 % Relative Total Cell Count | G2 % Relative Total Cell Count | G3 % Relative Total Cell Count | Avg. % Relative Total Cell Count | Std. Dev. % Relative Total Cell Count
acetone | 0 | 2.552 | 3.3147 | 1.17 | 2.3456 | 1.0871 | 108.7995 | 141.3142 | 49.8806 | 99.9981 | 46.3479
Code A-1 | 5000 | 2.7573 | 2.8453 | 1.2613 | 2.288 | 0.89021 | 117.5534 | 121.3051 | 53.7744 | 97.5443 | 37.9522
Code A-1 | 15000 | 1.3493 | 2.4347 | 1.936 | 1.9067 | 0.54326 | 57.5261 | 103.7972 | 82.5375 | 81.2869 | 23.1609
Code A-1 | 50000 | 1.6427 | 3.1093 | 2.2293 | 2.3271 | 0.73821 | 70.0318 | 132.5603 | 95.0432 | 99.2118 | 31.4719
Code A-1 | 75000 | 2.3173 | 2.288 | 2.2293 | 2.2782 | 0.044807 | 98.7949 | 97.5443 | 95.0432 | 97.1275 | 1.9103
Code A-1 | 100000 | 2.2 | 2.64 | 1.6133 | 2.1511 | 0.51508 | 93.7926 | 112.5512 | 68.7813 | 91.7084 | 21.9593
acetone | 0 | 2.552 | 3.3147 | 1.17 | 2.3456 | 1.0871 | 108.7995 | 141.3142 | 49.8806 | 99.9981 | 46.3479
Code C-4 | 1000 | 3.0507 | 1.6133 | 2.552 | 2.4053 | 0.7298 | 130.0591 | 68.7813 | 108.7995 | 102.5466 | 31.1138
Code C-4 | 2500 | 2.5227 | 2.0533 | 2.1413 | 2.2391 | 0.24948 | 107.5489 | 87.5398 | 91.2915 | 95.4601 | 10.636
Code C-4 | 4000 | 2.2587 | 2.0533 | 1.3787 | 1.8969 | 0.46039 | 96.2938 | 87.5398 | 58.7767 | 80.8701 | 19.6277
Code C-4 | 5000 | 1.496 | 1.9653 | 2.464 | 1.9751 | 0.48407 | 63.779 | 83.7881 | 105.0477 | 84.2049 | 20.6375
Code C-4 | 7000 | 2.6693 | 1.7013 | 2.904 | 2.4249 | 0.63751 | 113.8017 | 72.533 | 123.8063 | 103.3803 | 27.1789
Code C-4 | 9000 | 2.2587 | 1.9067 | 2.5813 | 2.2489 | 0.33744 | 96.2938 | 81.2869 | 110.05 | 95.8769 | 14.3861
acetone | 0 | 2.552 | 3.3147 | 1.17 | 2.3456 | 1.0871 | 108.7995 | 141.3142 | 49.8806 | 99.9981 | 46.3479
MMC | 3 | 2.61 | 2.0827 | 2.2 | 2.2976 | 0.27687 | 111.2722 | 88.7904 | 93.7926 | 97.9517 | 11.8039
48hr harvest /48hr CytB Test Article | Test Article Conc. (µg/ml) | G1 Viable cell count x 105 | G2 Viable cell count x 105 | G3 Viable cell count x 105 | Average Viable cell Count x 105 | Std. Dev. Viable cell Count x 105 | G1 % Relative Viable Cell Count | G2 % Relative Viable Cell Count | G3 % Relative Viable Cell Count | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count
acetone | 0 | 2.288 | 2.464 | 0.88 | 1.8773 | 0.86819 | 121.8772 | 131.2523 | 46.8758 | 100.0018 | 46.2466
Code A-1 | 5000 | 2.1707 | 2.0827 | 1.1733 | 1.8089 | 0.55216 | 115.6271 | 110.9395 | 62.5011 | 96.3559 | 29.4126
Code A-1 | 15000 | 1.32 | 1.936 | 1.6133 | 1.6231 | 0.30812 | 70.3137 | 103.1268 | 85.939 | 86.4599 | 16.4127
Code A-1 | 50000 | 1.2907 | 2.4053 | 1.936 | 1.8773 | 0.55964 | 68.7512 | 128.1273 | 103.1268 | 100.0018 | 29.8111
Code A-1 | 75000 | 2.0827 | 1.3787 | 1.8773 | 1.7796 | 0.36204 | 110.9395 | 73.4388 | 100.0018 | 94.7933 | 19.2852
Code A-1 | 100000 | 1.9067 | 2.2293 | 1.3787 | 1.8382 | 0.42944 | 101.5643 | 118.7521 | 73.4388 | 97.9184 | 22.8756
acetone | 0 | 2.288 | 2.464 | 0.88 | 1.8773 | 0.86819 | 121.8772 | 131.2523 | 46.8758 | 100.0018 | 46.2466
Code C-4 | 1000 | 2.2293 | 1.4667 | 1.8773 | 1.8578 | 0.38171 | 118.7521 | 78.1264 | 100.0018 | 98.9601 | 20.3329
Code C-4 | 2500 | 2.024 | 1.8187 | 1.7307 | 1.8578 | 0.15053 | 107.8144 | 96.8767 | 92.1891 | 98.9601 | 8.0183
Code C-4 | 4000 | 1.8187 | 1.8187 | 0.616 | 1.4178 | 0.69436 | 96.8767 | 96.8767 | 32.8131 | 75.5222 | 36.9872
Code C-4 | 5000 | 1.2613 | 1.8187 | 1.3787 | 1.4862 | 0.29382 | 67.1887 | 96.8767 | 73.4388 | 79.1681 | 15.6513
Code C-4 | 7000 | 2.1707 | 1.408 | 2.288 | 1.9556 | 0.47781 | 115.6271 | 75.0013 | 121.8772 | 104.1685 | 25.4521
Code C-4 | 9000 | 1.4373 | 1.6427 | 1.672 | 1.584 | 0.12786 | 76.5639 | 87.5016 | 89.0641 | 84.3765 | 6.8109
acetone | 0 | 2.288 | 2.464 | 0.88 | 1.8773 | 0.86819 | 121.8772 | 131.2523 | 46.8758 | 100.0018 | 46.2466
MMC | 3 | 1.99 | 1.79 | 1.97 | 1.9167 | 0.11015 | 106.0033 | 95.3497 | 104.9379 | 102.097 | 5.8675
48hr harvest /48hr CytB Test Article | Test Article Conc. (µg/ml) | G 1 % Viability | G 2 % Viability | G 3 % Viability | Average % Viability | Std. Dev. % Viability
acetone | 0 | 89.6552 | 74.3363 | 75.2137 | 79.735 | 8.6023
Code A-1 | 5000 | 78.7234 | 73.1959 | 93.0233 | 81.6475 | 10.232
Code A-1 | 15000 | 97.8261 | 79.5181 | 83.3333 | 86.8925 | 9.659
Code A-1 | 50000 | 78.5714 | 77.3585 | 86.8421 | 80.924 | 5.161
Code A-1 | 75000 | 89.8734 | 60.2564 | 84.2105 | 78.1135 | 15.7217
Code A-1 | 100000 | 86.6667 | 84.4444 | 85.4545 | 85.5219 | 1.1126
acetone | 0 | 89.6552 | 74.3363 | 75.2137 | 79.735 | 8.6023
Code C-4 | 1000 | 73.0769 | 90.9091 | 73.5632 | 79.1831 | 10.1579
Code C-4 | 2500 | 80.2326 | 88.5714 | 80.8219 | 83.2086 | 4.6537
Code C-4 | 4000 | 80.5195 | 88.5714 | 44.6809 | 71.2573 | 23.3653
Code C-4 | 5000 | 84.3137 | 92.5373 | 55.9524 | 77.6011 | 19.194
Code C-4 | 7000 | 81.3187 | 82.7586 | 78.7879 | 80.9551 | 2.0102
Code C-4 | 9000 | 63.6364 | 86.1538 | 64.7727 | 71.521 | 12.6852
acetone | 0 | 89.6552 | 74.3363 | 75.2137 | 79.735 | 8.6023
MMC | 3 | 76.2452 | 85.9475 | 89.5455 | 83.9127 | 6.8796

## Nov 17., 2008 A-1 and C-4
P&G Experiment Number: 20081117 | [6 empty] | IV. Results: 48h/48h MMC control tissues are positive averaging 1.73% MNBN per thousand BN cells,and statistically significant (p <0.05). Acetone control tissues are negative averaging 0.13% MNBN per thousand cells. Coded Chemical A-1: No toxicity by % relative cell count, nor % relative binucleation at highest concentration proposed by COLIPA. Chemical A-1 is negative for MNBN at all doses tested. . Coded Chemical C-4 is toxic at concentrations over 2500µg/ml. Coded Chemical C-4 is positive for MNBN and statistically significant at concentrations of 1000 and 2500µg/ml.
Date of tissue shipment |  | 2008-11-17
Date Received: |  | 2008-11-18
Tissue model & lot #, donor |  | MatTek EpiDerm™, lot 10776, kits C and D, donor 254
Name of protocol | modified IIVS
Date of experiment |  | 2008-11-18
incubation time |  | 48 hours
# Tissues |  | 48 |  |  |  |  | V. Conclusions: C-4 does not meet the criteria of three non-toxic contentrations for a valid assay and will be repeated. A-1 Unable to demonstrate toxicity at 100mg/ml which is the highest concentration allowed. VI. Recommendations: Repeat chemical C-4 using lower concentrations.
I. Purpose: COLIPA blinded study. The details can be found in the table below in the "Work Plan".
II. Method: We will use modified IIVS MN protocol. Note: COLIPA recommendation for dose range of coded chemicals: A-1 up to 100mg/ml, B-8 1 - 20 µg/ml C-4 250 - 9000µg/ml
III. Work Plan: Tuesday am: unpack tissues and transfer to 6 well labeled TC plates containing 1ml of warm NMM (provided) per well. Allow tissues to recover overnight in a 37ºC CO2 incubator. Wednesday am: change media in all tissues to freshly made NMM w/ 3µg/ml Cytochalasin B (cytoB), make fresh dilutions of chemicals and apply a 10µl topical dose of each TA concentration and controls, to the appropriate tissues Thursday am: change to freshly made NMM w/ 3µg/ml cytoB, make fresh dilutions of chemicals and apply the second10µl topical dose to tissues and controls. Friday am: Harvest and process cells from tissues.
III. Work Plan 2 doses, 48hr CytB, 48hr harvest
Identity |  | Conc. (µg/ml) | # tissues | Monday | Tuesday | Wednesday | Thursday | Friday
acetone |  | 0 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
MMC 3 µg/ml |  | 3 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code A-1 |  | 5000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code A-1 |  | 15000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code A-1 |  | 50000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code A-1 |  | 75000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code A-1 |  | 100000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Identity |  | Conc. µg/ml | # tissues | Monday | Tuesday | Wednesday | Thursday | Friday
Code C-4 |  | 1000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 |  | 2500 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 |  | 4000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 |  | 5000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 |  | 7000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
20081117 Summary Table
48hr harvest /48hr CytB Test Article | Test Article Conc. (µg/ml) | Avg. Relative % Binuc. | SD of Relative % Binuc. | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count | Avg. MN% | Total MN | Total BN | P value
acetone | 0 | 103.5988 | 8.7696 | 100.0014 | 38.4157 | 0.13333 | 4 | 3000
Code A-1 | 15000 | 97.6722 | 10.4975 | 104.2209 | 29.2059 | 0.23327 | 7 | 3001 | 0.2744
Code A-1 | 50000 | 94.4628 | 5.5647 | 134.6011 | 59.9417 | 0.1 | 3 | 3000 | 0.7736
Code A-1 | 75000 | 103.5987 | 6.254 | 86.4991 | 12.1635 | 0.23333 | 7 | 3000 | 0.2742
Code A-1 | 100000 | 86.2723 | 4.7861 | 65.8237 | 6.6982 | 0.26647 | 8 | 3002 | 0.1939
acetone | 0 | 103.5988 | 8.7696 | 100.0014 | 38.4157 | 0.13333 | 4 | 3000
Code C-4 | 1000 | 80.5201 | 4.216 | 85.6552 | 11.486 | 0.85455 | 23 | 2728 | 0.0001
Code C-4 | 2500 | 54.3324 | 4.644 | 107.5965 | 36.1818 | 1.4901 | 46 | 3076 | 0
Code C-4 | 4000 | 31.3476 | 1.4772 | 90.2967 | 9.5008
Code C-4 | 5000 | 31.7502 | 7.6335 | 63.292 | 53.0899
Code C-4 | 7000 | 25.1597 | 12.2739 | 96.2039 | 27.7621
acetone | 0 | 103.5988 | 8.7696 | 100.0014 | 38.4157 | 0.13333 | 4 | 3000
MMC | 3 | 79.3399 | 15.1793 | 105.0073 | 3.1809 | 1.7302 | 52 | 3006 | 0
Raw Data 2081117
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Bi% | G2 Bi% | G3 Bi% | Avg. Bi% | Std Dev | G1 Relative % Binuc. | G2 Relative % Binuc. | G3 Relative % Binuc. | Avg. Relative % Binuc. | SD of Relative % Binuc.
acetone | 0 | 38 | 43.2 | 44.8 | 42 | 3.5553 | 93.7323 | 106.5588 | 110.5054 | 103.5988 | 8.7696
Code A-1 | 15000 | 37.2 | 44.511 | 37.0809 | 39.5973 | 4.2558 | 91.759 | 109.7925 | 91.4651 | 97.6722 | 10.4975
Code A-1 | 50000 | 37.525 | 36.5269 | 40.8367 | 38.2962 | 2.256 | 92.5605 | 90.0988 | 100.7293 | 94.4628 | 5.5647
Code A-1 | 75000 | 43.7126 | 39.0873 | 43.2 | 42 | 2.5354 | 107.8231 | 96.4143 | 106.5588 | 103.5987 | 6.254
Code A-1 | 100000 | 36.5269 | 35.6 | 32.8 | 34.9756 | 1.9403 | 90.0988 | 87.8123 | 80.9057 | 86.2723 | 4.7861
acetone | 0 | 38 | 43.2 | 44.8 | 42 | 3.5553 | 93.7323 | 106.5588 | 110.5054 | 103.5988 | 8.7696
Code C-4 | 1000 | 32.2 | 34.5309 | 31.2 | 32.6436 | 1.7092 | 79.4258 | 85.1753 | 76.9591 | 80.5201 | 4.216
Code C-4 | 2500 | 19.8807 | 22.8 | 23.4 | 22.0269 | 1.8827 | 49.0385 | 56.2394 | 57.7193 | 54.3324 | 4.644
Code C-4 | 4000 | 12.3506 | 12.3752 | 13.4 | 12.7086 | 0.59888 | 30.4645 | 30.5253 | 33.053 | 31.3476 | 1.4772
Code C-4 | 5000 | 15.1282 | 14.1434 | 9.3439 | 12.8719 | 3.0947 | 37.3158 | 34.8867 | 23.0481 | 31.7502 | 7.6335
Code C-4 | 7000 | 15.6 | 9.2 | 5.8 | 10.2 | 4.9759 | 38.4796 | 22.6931 | 14.3065 | 25.1597 | 12.2739
acetone | 0 | 38 | 43.2 | 44.8 | 42 | 3.5553 | 93.7323 | 106.5588 | 110.5054 | 103.5988 | 8.7696
MMC | 3 | 38.4 | 32 | 26.0956 | 32.1652 | 6.1539 | 94.7189 | 78.9324 | 64.3685 | 79.3399 | 15.1793
Raw Data 20081117
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Total BN | G2 Total BN | G3 Total BN | Total BN | Total MN | G1 MN% | G2 MN% | G3 MN% | Avg. MN% | Std Dev
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 4 | 0.2 | 0.2 | 0 | 0.13333 | 0.11547
Code A-1 | 15000 | 1001 | 1000 | 1000 | 3001 | 7 | 0.1998 | 0.4 | 0.1 | 0.23327 | 0.15277
Code A-1 | 50000 | 1000 | 1000 | 1000 | 3000 | 3 | 0.2 | 0 | 0.1 | 0.1 | 0.1
Code A-1 | 75000 | 1000 | 1000 | 1000 | 3000 | 7 | 0.2 | 0.1 | 0.4 | 0.23333 | 0.15275
Code A-1 | 100000 | 1000 | 1002 | 1000 | 3002 | 8 | 0.4 | 0.2994 | 0.1 | 0.26647 | 0.15269
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 4 | 0.2 | 0.2 | 0 | 0.13333 | 0.11547
Code C-4 | 1000 | 1003 | 1001 | 724 | 2728 | 23 | 0.79761 | 0.7992 | 0.96685 | 0.85455 | 0.097256
Code C-4 | 2500 | 1012 | 1000 | 1064 | 3076 | 46 | 1.2846 | 1.4 | 1.7857 | 1.4901 | 0.26243
Code C-4 | 4000
Code C-4 | 5000
Code C-4 | 7000
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 4 | 0.2 | 0.2 | 0 | 0.13333 | 0.11547
MMC | 3 | 1000 | 1000 | 1006 | 3006 | 52 | 2 | 1.6 | 1.5905 | 1.7302 | 0.23374
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Total cell count X 105 | G2 Total cell count X 105 | G3 Total cell count X 105 | Avg. Total cell count X 105 | SD Total Cell Count | G1 % Relative Total Cell Count | G2 % Relative Total Cell Count | G3 % Relative Total Cell Count | Avg. % Relative Total Cell Count | Std. Dev. % Relative Total Cell Count
acetone | 0 | 3.52 | 3.4613 | 1.3787 | 2.7867 | 1.2197 | 126.3143 | 124.209 | 49.4731 | 99.9988 | 43.7692
Code A-1 | 15000 | 1.8773 | 3.0213 | 3.1973 | 2.6987 | 0.71672 | 67.3676 | 108.4198 | 114.7355 | 96.8409 | 25.7193
Code A-1 | 50000 | 2.64 | 5.4853 | 2.5813 | 3.5689 | 1.6599 | 94.7357 | 196.8398 | 92.6305 | 128.0686 | 59.5668
Code A-1 | 75000 | 2.2293 | 2.4053 | 2.6107 | 2.4151 | 0.19085 | 79.999 | 86.3148 | 93.6831 | 86.6656 | 6.8488
Code A-1 | 100000 | 2.2 | 1.6427 | 1.8773 | 1.9067 | 0.27982 | 78.9464 | 58.9467 | 67.3676 | 68.4202 | 10.0413
acetone | 0 | 3.52 | 3.4613 | 1.3787 | 2.7867 | 1.2197 | 126.3143 | 124.209 | 49.4731 | 99.9988 | 43.7692
Code C-4 | 1000 | 2.0533 | 2.3173 | 2.6693 | 2.3467 | 0.30905 | 73.6833 | 83.1569 | 95.7883 | 84.2095 | 11.09
Code C-4 | 2500 | 2.3173 | 2.1707 | 4.312 | 2.9333 | 1.1962 | 83.1569 | 77.8938 | 154.735 | 105.2619 | 42.9257
Code C-4 | 4000 | 2.9333 | 2.6107 | 2.8747 | 2.8062 | 0.17188 | 105.2619 | 93.6831 | 103.1567 | 100.7005 | 6.1678
Code C-4 | 5000 | 0.20533 | 3.1093 | 2.1707 | 1.8284 | 1.4819 | 7.3683 | 111.5776 | 77.8938 | 65.6133 | 53.179
Code C-4 | 7000 | 3.4613 | 1.7307 | 3.1973 | 2.7964 | 0.93238 | 124.209 | 62.1045 | 114.7355 | 100.3497 | 33.4583
acetone | 0 | 3.52 | 3.4613 | 1.3787 | 2.7867 | 1.2197 | 126.3143 | 124.209 | 49.4731 | 99.9988 | 43.7692
MMC | 3 | 2.87 | 2.58 | 2.9 | 2.7833 | 0.17673 | 102.9892 | 92.5826 | 104.0657 | 99.8792 | 6.3419
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Viable cell count x 105 | G2 Viable cell count x 105 | G3 Viable cell count x 105 | Average Viable cell Count x 105 | Std. Dev. Viable cell Count | G1 % Relative Viable Cell Count | G2 % Relative Viable Cell Count | G3 % Relative Viable Cell Count | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count
acetone | 0 | 2.8747 | 2.7867 | 1.2907 | 2.3173 | 0.89021 | 124.0524 | 120.2549 | 55.697 | 100.0014 | 38.4157
Code A-1 | 15000 | 1.6427 | 2.6987 | 2.904 | 2.4151 | 0.67679 | 70.8871 | 116.4574 | 125.3183 | 104.2209 | 29.2059
Code A-1 | 50000 | 2.3467 | 4.7227 | 2.288 | 3.1191 | 1.389 | 101.2673 | 203.8004 | 98.7356 | 134.6011 | 59.9417
Code A-1 | 75000 | 1.7013 | 2.2587 | 2.0533 | 2.0044 | 0.28186 | 73.4188 | 97.4698 | 88.6089 | 86.4991 | 12.1635
Code A-1 | 100000 | 1.6427 | 1.3493 | 1.584 | 1.5253 | 0.15522 | 70.8871 | 58.2287 | 68.3554 | 65.8237 | 6.6982
acetone | 0 | 2.8747 | 2.7867 | 1.2907 | 2.3173 | 0.89021 | 124.0524 | 120.2549 | 55.697 | 100.0014 | 38.4157
Code C-4 | 1000 | 1.7013 | 2.2293 | 2.024 | 1.9849 | 0.26616 | 73.4188 | 96.2039 | 87.343 | 85.6552 | 11.486
Code C-4 | 2500 | 1.9947 | 2.024 | 3.4613 | 2.4933 | 0.83844 | 86.0772 | 87.343 | 149.3692 | 107.5965 | 36.1818
Code C-4 | 4000 | 2.3173 | 2.0827 | 1.8773 | 2.0924 | 0.22016 | 100.0014 | 89.8747 | 81.0138 | 90.2967 | 9.5008
Code C-4 | 5000 | 0.14667 | 2.5813 | 1.672 | 1.4667 | 1.2303 | 6.3292 | 111.394 | 72.1529 | 63.292 | 53.0899
Code C-4 | 7000 | 2.6987 | 1.496 | 2.4933 | 2.2293 | 0.64333 | 116.4574 | 64.5579 | 107.5965 | 96.2039 | 27.7621
acetone | 0 | 2.8747 | 2.7867 | 1.2907 | 2.3173 | 0.89021 | 124.0524 | 120.2549 | 55.697 | 100.0014 | 38.4157
MMC | 3 | 2.49 | 2.35 | 2.46 | 2.4333 | 0.073711 | 107.4526 | 101.4111 | 106.158 | 105.0073 | 3.1809
Raw Data 20081117
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G 1 % Viability | G 2 % Viability | G 3 % Viability | Average % Viability | Std. Dev. % Viability
acetone | 0 | 81.6667 | 80.5085 | 93.617 | 85.2641 | 7.257
Code A-1 | 15000 | 87.5 | 89.3204 | 90.8257 | 89.2154 | 1.6653
Code A-1 | 50000 | 88.8889 | 86.0963 | 88.6364 | 87.8738 | 1.5446
Code A-1 | 75000 | 76.3158 | 93.9024 | 78.6517 | 82.9566 | 9.551
Code A-1 | 100000 | 74.6667 | 82.1429 | 84.375 | 80.3948 | 5.0847
acetone | 0 | 81.6667 | 80.5085 | 93.617 | 85.2641 | 7.257
Code C-4 | 1000 | 82.8571 | 96.2025 | 75.8242 | 84.9613 | 10.3508
Code C-4 | 2500 | 86.0759 | 93.2432 | 80.2721 | 86.5304 | 6.4975
Code C-4 | 4000 | 79 | 79.7753 | 65.3061 | 74.6938 | 8.1392
Code C-4 | 5000 | 71.4286 | 83.0189 | 77.027 | 77.1582 | 5.7963
Code C-4 | 7000 | 77.9661 | 86.4407 | 77.9817 | 80.7961 | 4.8883
acetone | 0 | 81.6667 | 80.5085 | 93.617 | 85.2641 | 7.257
MMC | 3 | 86.7596 | 91.0853 | 84.8276 | 87.5575 | 3.2042

## Dec. 1, 2008 B-8 Coded
P&G Experiment Number: 20081201 | [6 empty] | IV. Results: Controls: MMC control tissues are positive averaging 1.5% MNBN and is statistically significant (p<0.05), acetone control tissues are negative averaging 0.06% MNBN. Coded Chemical B-8 All concentrations are positive for MN and are statistically significant((p<0.05).
Date of tissue shipment |  | 2008-12-01
Date Received: |  | 2008-12-02 |  |  |  |  | V. Conclusions: In this study, Coded Chemical B-8 demonstrates a positive MNBN response and is statistically significant (p<0.5) at all concentrations tested.
Tissue model & lot #, donor |  | MatTek EpiDerm™, lot 10780, kit B, donor 254
Name of protocol |  | modified IIVS |  |  |  |  | VI. Recommendations: Repeat the study as required
Date of experiment |  | 2008-12-02
incubation time |  | 48 hours
# Tissues |  | 24
I. Purpose: COLIPA blinded study. The details can be found in the table below in the "Work Plan".
II. Method: We will use modified IIVS MN protocol. Note: COLIPA recommendation for dose range of coded chemicals: A-1 up to 100mg/ml, B-8 1 - 20 µg/ml C-4 250 - 9000µg/ml
III. Work Plan: Tuesday am: unpack tissues and transfer to 6 well labeled TC plates containing 1ml of warm NMM (provided) per well. Allow tissues to recover overnight in a 37ºC CO2 incubator. Wednesday am: change media in all tissues to freshly made NMM w/ 3µg/ml Cytochalasin B (cytoB), make fresh dilutions of chemicals and apply a 10µl topical dose of each TA concentration and controls, to the appropriate tissues Thursday am: change media to freshly made NMM w/ 3µg/ml cytoB, make fresh dilutions of chemicals and apply the second10µl topical dose to tissues and controls. Friday am: Harvest and process cells from tissues.
III. Work Plan 2 doses, 48 hr harvest / 48hr CytoB 20081201
Identity | Concentration | # tissues | Monday | Tuesday | Wednesday | Thursday | Friday
acetone | 0 | 3 | NA | NMM overnight | dose + cyotB | dose + cyotB | Harvest
MMC 3 | 3 µg/ml | 3 | NA | NMM overnight | dose + cyotB | dose + cyotB | Harvest
Code B-8 | 1 µg/ml | 3 | NA | NMM overnight | dose + cyotB | dose + cyotB | Harvest
Code B-8 | 3 µg/m | 3 | NA | NMM overnight | dose + cyotB | dose + cyotB | Harvest
Code B-8 | 5 µg/ml | 3 | NA | NMM overnight | dose + cyotB | dose + cyotB | Harvest
Code B-8 | 7 µg/ml | 3 | NA | NMM overnight | dose + cyotB | dose + cyotB | Harvest
Code B-8 | 10 µg/ml | 3 | NA | NMM overnight | dose + cyotB | dose + cyotB | Harvest
Code B-8 | 15 µg/ml | 3 | NA | NMM overnight | dose + cyotB | dose + cyotB | Harvest
Page 2
20081201 Summary Table
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | Avg. Relative % Binuc. | SD of Relative % Binuc. | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count | Avg. MN% | Total MN | Total BN | P value
acetone | 0 | 100.0001 | 6.1544 | 100.0009 | 0.76924 | 0.066667 | 2 | 3000
Code B-8 | 1 µg/ml | 101.1307 | 9.651 | 57.6928 | 8.8713 | 0.69877 | 21 | 3006 | 0
Code B-8 | 3 µg/m | 77.6735 | 10.2021 | 77.693 | 16.4444 | 1.3333 | 40 | 3000 | 0
Code B-8 | 5 µg/ml | 82.7042 | 13.89 | 47.9491 | 13.7892 | 2.1117 | 64 | 3026 | 0
Code B-8 | 7 µg/ml | 71.9987 | 17.8653 | 47.6927 | 12.0159 | 2.3 | 69 | 3000 | 0
Code B-8 | 10 µg/ml | 57.1881 | 2.6132 | 66.9237 | 15.8955 | 2.8679 | 87 | 3031 | 0
Code B-8 | 15 µg/ml | 46.4243 | 8.5902 | 76.4109 | 7.7052 | 2.4643 | 73 | 2002 | 0
acetone | 0 | 100.0001 | 6.1544 | 100.0009 | 0.76924 | 0.066667 | 2 | 3000
MMC 3 | 3 µg/ml | 81.795 | 3.2833 | 62.0518 | 31.2876 | 1.5 | 45 | 3000 | 0
Raw Data Page 3
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Bi% | G2 Bi% | G3 Bi% | Avg. Bi% | Std Dev | G1 Relative % Binuc. | G2 Relative % Binuc. | G3 Relative % Binuc. | Avg. Relative % Binuc. | SDf Relative % Binuc.
acetone | 0 | 46.1078 | 43.254 | 48.9279 | 46.0965 | 2.837 | 100.0245 | 93.8335 | 106.1423 | 100.0001 | 6.1544
Code B-8 | 1 µg/ml | 51.3944 | 42.5926 | 45.8661 | 46.6177 | 4.4488 | 111.4931 | 92.3988 | 99.5003 | 101.1307 | 9.651
Code B-8 | 3 µg/m | 41.2351 | 33.0677 | 33.1115 | 35.8048 | 4.7028 | 89.4538 | 71.7359 | 71.8308 | 77.6735 | 10.2021
Code B-8 | 5 µg/ml | 43.7126 | 31.1377 | 39.521 | 38.1238 | 6.4028 | 94.8284 | 67.549 | 85.7353 | 82.7042 | 13.89
Code B-8 | 7 µg/ml | 41.517 | 33 | 25.0497 | 33.1889 | 8.2353 | 90.0653 | 71.5889 | 54.3419 | 71.9987 | 17.8653
Code B-8 | 10 µg/ml | 27.7445 | 25.8004 | 25.5403 | 26.3617 | 1.2046 | 60.1879 | 55.9704 | 55.4061 | 57.1881 | 2.6132
Code B-8 | 15 µg/ml | 18.6 |  | 24.2 | 27.6667 | 11.2095 | 40.3501 |  | 52.4986 | 46.4243 | 24.3175
acetone | 0 | 46.1078 | 43.254 | 48.9279 | 46.0965 | 2.837 | 100.0245 | 93.8335 | 106.1423 | 100.0001 | 6.1544
MMC 3 | 3 µg/ml | 39.4059 | 36.5079 | 37.2 | 37.7046 | 1.5135 | 85.4858 | 79.1989 | 80.7003 | 81.795 | 3.2833
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Total BN | G2 Total BN | G3 Total BN | Total BN | Total MN | G1 MN% | G2 MN% | G3 MN% | Avg. MN% | Std Dev
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 2 | 0.1 | 0 | 0.1 | 0.066667 | 0.055556
Code B-8 | 1 µg/ml | 1001 | 1005 | 1000 | 3006 | 21 | 0.6993 | 0.59701 | 0.8 | 0.69877 | 0.6986
Code B-8 | 3 µg/m | 1000 | 1000 | 1000 | 3000 | 40 | 1.5 | 1.2 | 1.3 | 1.3333 | 1.2778
Code B-8 | 5 µg/ml | 1001 | 1000 | 1025 | 3026 | 64 | 1.5984 | 2.2 | 2.5366 | 2.1117 | 2.2827
Code B-8 | 7 µg/ml | 1000 | 1000 | 1000 | 3000 | 69 | 1.3 | 2.3 | 3.3 | 2.3 | 2.6333
Code B-8 | 10 µg/ml | 1000 | 1000 | 1031 | 3031 | 87 | 3.4 | 2.1 | 3.1038 | 2.8679 | 2.6906
Code B-8 | 15 µg/ml | 1000 |  | 1002 | 2002 | 73 | 3.7 |  | 3.5928 | 3.6464 | 1.9
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 2 | 0.1 | 0 | 0.1 | 0.066667 | 0.055556
MMC 3 | 3 µg/ml | 1000 | 1000 | 1000 | 3000 | 45 | 1.5 | 1.1 | 1.9 | 1.5 | 1.5
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Total cell count X 105 | G2 Total cell count X 105 | G3 Total cell count X 105 | Avg. Total cell count X 105 | SD Total Cell Count | G1 % Relative Total Cell Count | G2 % Relative Total Cell Count | G3 % Relative Total Cell Count | Avg. % Relative Total Cell Count | Std. Dev. % Relative Total Cell Count
acetone | 0 | 4.4587 | 4.5173 | 4.488 | 4.488 | 0.029333 | 99.3464 | 100.6536 | 100 | 100 | 0.65359
Code B-8 | 1 µg/ml | 2.7573 | 3.168 | 2.7867 | 2.904 | 0.2291 | 61.4379 | 70.5882 | 62.0915 | 64.7059 | 5.1047
Code B-8 | 3 µg/m | 3.4027 | 4.312 | 3.0213 | 3.5787 | 0.66309 | 75.817 | 96.0784 | 67.3203 | 79.7386 | 14.7747
Code B-8 | 5 µg/ml | 3.08 | 2.0827 | 1.936 | 2.3662 | 0.62248 | 68.6275 | 46.4052 | 43.1373 | 52.7233 | 13.87
Code B-8 | 7 µg/ml | 2.7867 | 1.8773 | 2.552 | 2.4053 | 0.47208 | 62.0915 | 41.8301 | 56.8627 | 53.5948 | 10.5186
Code B-8 | 10 µg/ml | 2.728 | 3.96 | 2.8453 | 3.1778 | 0.67996 | 60.7843 | 88.2353 | 63.3987 | 70.8061 | 15.1506
Code B-8 | 15 µg/ml | 3.432 | 3.9013 | 3.0507 | 3.4613 | 0.42609 | 76.4706 | 86.9281 | 67.9739 | 77.1242 | 9.494
acetone | 0 | 4.4587 | 4.5173 | 4.488 | 4.488 | 0.029333 | 99.3464 | 100.6536 | 100 | 100 | 0.65359
MMC 3 | 3 µg/ml | 3.3147 | 4.048 | 1.2907 | 2.8844 | 1.4281 | 73.8562 | 90.1961 | 28.7582 | 64.2702 | 31.821
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Viable cell count X 105 | G2 Viable cell count X 105 | G3 Viable cell count X 105 | Avg. Viable cell count X 105 | Std. Dev. Viable cell Count | G1 % Relative Viable Cell Count | G2 % Relative Viable Cell Count | G3 % Relative Viable Cell Count | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count
acetone | 0 | 3.8133 | 3.784 | 3.8427 | 3.8133 | 0.029333 | 100.0009 | 99.2316 | 100.7701 | 100.0009 | 0.76924
Code B-8 | 1 µg/ml | 1.848 | 2.5227 | 2.2293 | 2.2 | 0.33829 | 48.462 | 66.1544 | 58.462 | 57.6928 | 8.8713
Code B-8 | 3 µg/m | 2.7573 | 3.6667 | 2.464 | 2.9627 | 0.62708 | 72.3083 | 96.1547 | 64.6159 | 77.693 | 16.4444
Code B-8 | 5 µg/ml | 2.4347 | 1.496 | 1.5547 | 1.8284 | 0.52582 | 63.8467 | 39.2311 | 40.7696 | 47.9491 | 13.7892
Code B-8 | 7 µg/ml | 2.0533 | 1.2907 | 2.112 | 1.8187 | 0.4582 | 53.8466 | 33.8464 | 55.3851 | 47.6927 | 12.0159
Code B-8 | 10 µg/ml | 2.0533 | 3.2267 | 2.376 | 2.552 | 0.60614 | 53.8466 | 84.6161 | 62.3082 | 66.9237 | 15.8955
Code B-8 | 15 µg/ml | 3.0213 | 3.1387 | 2.5813 | 2.9138 | 0.29382 | 79.2315 | 82.3084 | 67.6929 | 76.4109 | 7.7052
acetone | 0 | 3.8133 | 3.784 | 3.8427 | 3.8133 | 0.029333 | 100.0009 | 99.2316 | 100.7701 | 100.0009 | 0.76924
MMC 3 | 3 µg/ml | 2.7573 | 3.3147 | 1.0267 | 2.3662 | 1.1931 | 72.3083 | 86.9238 | 26.9233 | 62.0518 | 31.2876
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G 1 % Viability | G 2 % Viability | G 3 % Viability | Average % Viability | Std. Dev. % Viability
acetone | 0 | 85.5263 | 83.7662 | 85.6209 | 84.9712 | 1.0446
Code B-8 | 1 µg/ml | 67.0213 | 79.6296 | 80 | 75.5503 | 7.3887
Code B-8 | 3 µg/m | 81.0345 | 85.034 | 81.5534 | 82.5406 | 2.1749
Code B-8 | 5 µg/ml | 79.0476 | 71.831 | 80.303 | 77.0605 | 4.5722
Code B-8 | 7 µg/ml | 73.6842 | 68.75 | 82.7586 | 75.0643 | 7.1055
Code B-8 | 10 µg/ml | 75.2688 | 81.4815 | 83.5052 | 80.0852 | 4.292
Code B-8 | 15 µg/ml | 88.0342 | 80.4511 | 84.6154 | 84.3669 | 3.7976
acetone | 0 | 85.5263 | 83.7662 | 85.6209 | 84.9712 | 1.0446
MMC 3 | 3 µg/ml | 83.1858 | 81.8841 | 79.5455 | 81.5385 | 1.8446

## Dec. 15, 2008 B-8 Coded
P&G Experiment Number: 20081215 | [6 empty] | IV. Results: Controls: MMC control tissues are positive averaging 1.3% MNBN and statistically significant (p<0.5), acetone control tissues are negative averaging 0.1% MNBN. Coded Chemical B-8 Toxicity is demonstrated by % relative binucleation. All concentrations above 1µg/ml are positive for MN and are statistically significant (p<0.5).
Date of tissue shipment | 2008-12-15
Date Received: | 2008-12-16
Tissue model & lot #, donor | MatTek EpiDerm™, lot 10783 kit A and B , donor 254
Name of protocol | modified IIVS | [5 empty] | V. Conclusions: Coded Chemicals B-8 demonstrates a positive MN response.
Date of experiment | 2008-12-02 | [5 empty] | VI. Recommendations: None
incubation time | 48 hours
# Tissues | 48
I. Purpose: COLIPA blinded study. The details can be found in the table below in the "Work Plan".
II. Method: We will use modified IIVS MN protocol. Note: COLIPA recommendation for dose range of coded chemicals: A-1 up to 100mg/ml, B-8 1 - 20 µg/ml C-4 250 - 9000µg/ml
III. Work Plan: Tuesday am: unpack tissues and transfer to 6 well labeled TC plates containing 1ml of warm NMM (provided) per well. Allow tissues to recover overnight in a 37ºC CO2 incubator. Wednesday am: change media in all tissues to freshly made NMM w/ 3µg/ml Cytochalasin B (cytoB), make fresh dilutions of chemicals and apply a 10µl topical dose of each TA concentration and controls, to the appropriate tissues Thursday am: change media to freshly made NMM w/ 3µg/ml cytoB, make fresh dilutions of chemicals and apply the second10µl topical dose to tissues and controls. Friday am: Harvest and process cells from tissues.
III. Work Plan 2 doses, 48 hr harvest / 48hr CytoB 20081215 - 24 tissues
Identity and Concentration | Test Article Conc. (µg/ml) | # tissues | Monday | Tuesday | Wednesday | Thursday | Friday
acetone | 0 | 4 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
MMC 3 | 3 µg/ml | 4 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code B-8 | 1 µg/ml | 4 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code B-8 | 3 µg/m | 4 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code B-8 | 5 µg/ml | 4 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code B-8 | 7 µg/ml | 4 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code B-8 | 10 µg/ml | 4 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code B-8 | 15 µg/ml | 4 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code B-8 | 20 µg/ml | 4 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
total # tissues |  | 36
page 2
20081215 Summary Table
48hr harvest /48hr CytB Test Article Name | Test Article Conc. (µg/ml) | Avg. Relative % Binuc. | SD of Relative % Binuc. | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count | Avg. MN% | Total MN | Total BN | P value
acetone | 0 | 100 | 5.788 | 100 | 5.788 | 0.13333 | 4 | 3000
Code B-8 | 1 µg/ml | 87.3841 | 7.1786 | 87.3841 | 7.1786 | 0.36657 | 11 | 3001 | 0.059082
Code B-8 | 3 µg/m | 68.6978 | 6.5486 | 68.6978 | 6.5486 | 1.5963 | 48 | 3010 | 5.9984e-11
Code B-8 | 5 µg/ml | 89.27 | 8.416 | 89.27 | 8.416 | 0.46438 | 13 | 2811 | 0.017647
Code B-8 | 7 µg/ml | 63.3518 | 8.723 | 63.3518 | 8.723 | 3.4794 | 105 | 3016 | 4.9747e-27
Code B-8 | 10 µg/ml | 62.1484 | 6.5969 | 62.1484 | 6.5969 | 3.8971 | 106 | 2678 | 4.1347e-30
Code B-8 | 15 µg/ml | 42.1391 | 5.8373 | 42.1391 | 5.8373 | 2.2478 | 45 | 2002 | 2.8352e-14
Code B-8 | 20 µg/ml | 44.7542 | 13.7382 | 44.7542 | 13.7382 | 3.8906 | 78 | 2005 | 1.0214e-26
acetone | 0 | 100 | 5.788 | 100 | 5.788 | 0.13333 | 4 | 3000
MMC 3 | 3 µg/ml | 98.6614 | 10.7353 | 98.6614 | 10.7353 | 1.3 | 39 | 3000 | 1.4055e-08
Raw Data P3
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Bi% | G2 Bi% | G3 Bi% | Avg. Bi% | Std Dev | G1 Relative % Binuc. | G2 Relative % Binuc. | G3 Relative % Binuc. | Avg. Relative % Binuc. | SDf Relative % Binuc.
acetone | 0 | 48.503 | 43.2 | 45.7571 | 45.82 | 2.6521 | 105.8555 | 94.282 | 99.8627 | 100 | 5.788
Code B-8 | 1 µg/ml | 40.9182 | 42.8 | 36.4 | 40.0394 | 3.2893 | 89.302 | 93.409 | 79.4413 | 87.3841 | 7.1786
Code B-8 | 3 µg/m | 34.9301 | 30 | 29.5019 | 31.4774 | 3.0006 | 76.2334 | 65.4736 | 64.3865 | 68.6978 | 6.5486
Code B-8 | 5 µg/ml | 41 | 44.7106 | 37 | 40.9035 | 3.8562 | 89.4806 | 97.5787 | 80.7508 | 89.27 | 8.416
Code B-8 | 7 µg/ml | 25.1497 | 28.8 | 33.1337 | 29.0278 | 3.9969 | 54.888 | 62.8546 | 72.3128 | 63.3518 | 8.723
Code B-8 | 10 µg/ml | 26.3473 | 31.9361 | 27.1457 | 28.4764 | 3.0227 | 57.5018 | 69.6991 | 59.2442 | 62.1484 | 6.5969
Code B-8 | 15 µg/ml | 22.2656 | 18.6 | 17.0588 | 19.3081 | 2.6747 | 48.5937 | 40.5936 | 37.2301 | 42.1391 | 5.8373
Code B-9 | 20 µg/ml | 15.5629 | 27.593 | 18.3633 | 20.5064 | 6.2949 | 33.9653 | 60.2203 | 40.077 | 44.7542 | 13.7382
acetone | 0 | 48.503 | 43.2 | 45.7571 | 45.82 | 2.6521 | 105.8555 | 94.282 | 99.8627 | 100 | 5.788
MMC 3 | 3 µg/ml | 39.604 | 47.2 | 48.816 | 45.2067 | 4.9189 | 86.4338 | 103.0118 | 106.5387 | 98.6614 | 10.7353
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Total BN | G2 Total BN | G3 Total BN | Total BN | Total MN | G1 MN% | G2 MN% | G3 MN% | Avg. MN% | Std Dev
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 4 | 0.2 | 0.1 | 0.1 | 0.13333 | 0.11111
Code B-8 | 1 µg/ml | 1001 | 1000 | 1000 | 3001 | 11 | 0.2997 | 0.5 | 0.3 | 0.36657 | 0.38886
Code B-8 | 3 µg/m | 1009 | 1001 | 1000 | 3010 | 48 | 0.99108 | 2.1978 | 1.6 | 1.5963 | 1.798
Code B-8 | 5 µg/ml | 804 | 1006 | 1001 | 2811 | 13 | 0.49751 | 0.69583 | 0.1998 | 0.46438 | 0.45333
Code B-8 | 7 µg/ml | 1014 | 1001 | 1001 | 3016 | 105 | 3.9448 | 3.8961 | 2.5974 | 3.4794 | 3.3243
Code B-8 | 10 µg/ml | 677 | 1000 | 1001 | 2678 | 106 | 3.3973 | 2.3 | 5.994 | 3.8971 | 4.0637
Code B-8 | 15 µg/ml | 1001 | 1001 | 0 | 2002 | 45 | 1.1988 | 3.2967 |  | 2.2478 | 2.7722
Code B-9 | 20 µg/ml | 0 | 1001 | 1004 | 2005 | 78 |  | 4.0959 | 3.6853 | 3.8906 | 3.8906
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 4 | 0.2 | 0.1 | 0.1 | 0.13333 | 0.11111
MMC 3 | 3 µg/ml | 1000 | 1000 | 1000 | 3000 | 39 | 1.2 | 1.1 | 1.6 | 1.3 | 1.3333
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Total cell count X 105 | G2 Total cell count X 105 | G3 Total cell count X 105 | Avg. Total cell count X 105 | SD Total Cell Count | G1 % Relative Total Cell Count | G2 % Relative Total Cell Count | G3 % Relative Total Cell Count | Avg. % Relative Total Cell Count | Std. Dev. % Relative Total Cell Count
acetone | 0 | 3.0213 | 3.8427 | 3.3147 | 3.3929 | 0.41622 | 89.0487 | 113.2561 | 97.6942 | 99.9997 | 12.2673
Code B-8 | 1 µg/ml | 2.2 | 3.4907 | 3.9013 | 3.1973 | 0.88779 | 64.8413 | 102.8815 | 114.9852 | 94.236 | 26.166
Code B-8 | 3 µg/m | 3.9893 | 4.136 | 3.3147 | 3.8133 | 0.43804 | 117.5789 | 121.9016 | 97.6942 | 112.3916 | 12.9105
Code B-8 | 5 µg/ml | 1.9947 | 2.9627 | 5.3973 | 3.4516 | 1.7532 | 58.7894 | 87.3196 | 159.0773 | 101.7288 | 51.6733
Code B-8 | 7 µg/ml | 2.4347 | 2.4053 | 6.2187 | 3.6862 | 2.1932 | 71.7577 | 70.8931 | 183.2847 | 108.6452 | 64.6412
Code B-8 | 10 µg/ml | 2.5813 | 3.7253 | 3.9013 | 3.4027 | 0.71672 | 76.0804 | 109.7979 | 114.9852 | 100.2879 | 21.1241
Code B-8 | 15 µg/ml | 4.048 | 1.9947 | 3.1093 | 3.0507 | 1.0279 | 119.308 | 58.7894 | 91.6424 | 89.9133 | 30.2963
Code B-9 | 20 µg/ml | 3.344 | 3.08 | 1.7013 | 2.7084 | 0.88212 | 98.5588 | 90.7778 | 50.1439 | 79.8268 | 25.9989
acetone | 0 | 3.0213 | 3.8427 | 3.3147 | 3.3929 | 0.41622 | 89.0487 | 113.2561 | 97.6942 | 99.9997 | 12.2673
MMC 3 | 3 µg/ml | 2.9333 | 2.728 | 2.3173 | 2.6596 | 0.31365 | 86.455 | 80.4032 | 68.2995 | 78.3859 | 9.2444
Raw Data P 4
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Viable cell count X 105 | G2 Viable cell count X 105 | G3 Viable cell count X 105 | Avg. Viable cell count X 105 | Std. Dev. Viable cell Count | G1 % Relative Viable Cell Count | G2 % Relative Viable Cell Count | G3 % Relative Viable Cell Count | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count
acetone | 0 | 1.9947 | 2.8747 | 2.8747 | 2.5813 | 0.50807 | 77.2737 | 111.3651 | 111.3651 | 100.0013 | 19.6826
Code B-8 | 1 µg/ml | 1.5547 | 2.4933 | 3.168 | 2.4053 | 0.81026 | 60.2281 | 96.5922 | 122.7289 | 93.183 | 31.3896
Code B-8 | 3 µg/m | 2.9333 | 3.344 | 2.6693 | 2.9822 | 0.33998 | 113.6378 | 129.5471 | 103.4104 | 115.5318 | 13.1709
Code B-8 | 5 µg/ml | 1.7013 | 2.376 | 5.016 | 3.0311 | 1.7518 | 65.9099 | 92.0466 | 194.3207 | 117.4258 | 67.8631
Code B-8 | 7 µg/ml | 1.9067 | 1.9067 | 4.8693 | 2.8942 | 1.7105 | 73.8646 | 73.8646 | 188.6388 | 112.1227 | 66.2649
Code B-8 | 10 µg/ml | 2.2587 | 3.0507 | 3.0213 | 2.7769 | 0.44903 | 87.5011 | 118.1833 | 117.047 | 107.5771 | 17.3956
Code B-8 | 15 µg/ml | 3.3733 | 1.6427 | 2.552 | 2.5227 | 0.86571 | 130.6835 | 63.6372 | 98.8649 | 97.7285 | 33.5376
Code B-9 | 20 µg/ml | 2.4053 | 2.1707 | 1.3787 | 1.9849 | 0.53796 | 93.183 | 84.092 | 53.4098 | 76.8949 | 20.8405
acetone | 0 | 1.9947 | 2.8747 | 2.8747 | 2.5813 | 0.50807 | 77.2737 | 111.3651 | 111.3651 | 100.0013 | 19.6826
MMC 3 | 3 µg/ml | 2.288 | 1.408 | 1.9067 | 1.8676 | 0.4413 | 88.6375 | 54.5462 | 73.8646 | 72.3494 | 17.0961
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G 1 % Viability | G 2 % Viability | G 3 % Viability | Average % Viability | Std. Dev. % Viability
acetone | 0 | 66.0194 | 74.8092 | 86.7257 | 75.8514 | 10.3924 | 10.3924
Code B-8 | 1 µg/ml | 70.6667 | 71.4286 | 81.203 | 74.4327 | 5.8756
Code B-8 | 3 µg/m | 73.5294 | 80.8511 | 80.531 | 78.3038 | 4.1379
Code B-8 | 5 µg/ml | 85.2941 | 80.198 | 92.9348 | 86.1423 | 6.4106
Code B-8 | 7 µg/ml | 78.3133 | 79.2683 | 78.3019 | 78.6278 | 0.5547
Code B-8 | 10 µg/ml | 87.5 | 81.8898 | 77.4436 | 82.2778 | 5.0394
Code B-8 | 15 µg/ml | 83.3333 | 82.3529 | 82.0755 | 82.5872 | 0.66085
Code B-9 | 20 µg/ml | 71.9298 | 70.4762 | 81.0345 | 74.4802 | 5.7225
acetone | 0 | 66.0194 | 74.8092 | 86.7257 | 75.8514 | 10.3924
MMC 3 | 3 µg/ml | 78 | 51.6129 | 82.2785 | 70.6305 | 16.608

## March 16, 2009 C-4
P&G Experiment Number: 20090316 | [7 empty] | IV. Results: 48h/48h MMC control tissues are positive averaging 1.3% MNBN per thousand BN cells,and statistically significant (p <0.05). Acetone control tissues are negative averaging 0.2% MNBN per thousand cells. Coded chemical C-4 shows toxicity by relative % BN and is positive for MNBN and statistically significant (p <0.05) at concentrations of 1000 and 2500 µg/ml.
Date of tissue shipment |  | 2009-03-16
Date Received: |  | 2009-03-17
Tissue model & lot #, donor |  | MatTek EpiDerm™, lot 11613, kits C and D, donor 254
Name of protocol | modified IIVS
Date of experiment |  | 2009-03-17 | [5 empty] | Conclusions and recommendations: Coded chemical C4 is positive for MN. Repeat the 48h C-4 study as required.
incubation time |  | 72 and 48 hours
# Tissues |  | 48
I. Purpose: COLIPA blinded study. The details can be found in the table below in the "Work Plan".
II. Method: We will use modified IIVS MN protocol. Note: COLIPA recommendation for dose range of coded chemicals: A-1 up to 100mg/ml, B-8 1 - 20 µg/ml C-4 250 - 9000µg/ml
III. Work Plan: Tuesday am: unpack tissues and transfer to 6 well labeled TC plates containing 1ml of warm NMM (provided) per well. Allow tissues to recover overnight in a 37ºC CO2 incubator. Wednesday am: change media in all tissues to freshly made NMM w/ 3µg/ml Cytochalasin B (cytoB), make fresh dilutions of chemicals and apply a 10µl topical dose of each TA concentration and controls, to the appropriate tissues Thursday am: change media to freshly made NMM w/ 3µg/ml cytoB, make fresh dilutions of chemicals and apply the second10µl topical dose to tissues and controls. Friday am: Harvest and process cells from tissues.
III. Work Plan 2 doses, 48hr CytoB, 48hr harvest (condition (48/48)
Identity and Concentration | Conc. µg/ml | # tissues | Monday | Tuesday | Wednesday | Thursday | Friday
acetone | 0 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 | 500 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 | 1000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 | 1500 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 | 2000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 | 2500 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
MMC | 3 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
total 21
20090316 Summary Table
48hr harvest /48hr CytB Test Article Name | Test Article Conc. (µg/ml) | Avg. Relative % Binuc. | SD of Relative % Binuc. | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count | Avg. MN% | Total MN | Total BN | P value
acetone | 0 | 100 | 100 | 99.9995 | 28.3135 | 0.19963 | 6 | 1004 |  | 3005
C4 | 500 | 87.7183 | 87.7183 | 113.2069 | 18.3961 | 0.19973 | 6 | 1002 | 0.6125 | 3003 | 0.61336
C4 | 1000 | 86.4008 | 86.4008 | 90.0939 | 8.5297 | 0.63207 | 19 | 1002 | 0.0072 | 3006 | 0.37973
C4 | 1500 | 78.8848 | 78.8848 | 83.0184 | 11.783 | 0.4 | 10 | 1000 | 0.1485 | 2600 | 0.1485
C4 | 2000 | 71.9853 | 71.9853 | 71.6977 | 23.3525 | 0.48113 | 10 | 1000 | 0.136 | 2530 | 0.13603
C4 | 2500 | 60.4381 | 60.4381 | 94.3391 | 22.4787 | 0.66895 | 19 | 1009 | 0.0028 | 2642 | 0.002831
Acetone | 0 | 100 | 100 | 99.9995 | 28.3135 | 0.19963 | 6 | 1004 |  | 3005
MMC | 3 | 91.3526 | 91.3526 | 144.3388 | 45.3491 | 1.2874 | 39 | 1009 | 0 | 3028 | OK
Raw Data
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Bi% | G2 Bi% | G3 Bi% | Avg. Bi% | Std Dev | G1 Relative % Binuc. | G2 Relative % Binuc. | G3 Relative % Binuc. | Avg. Relative % Binuc. | SD Relative % Binuc.
acetone | 0 | 44.511 | 49.4 | 44.3114 | 46.0741 | 2.882 | 96.6074 | 107.2186 | 96.1742 | 100 | 101.1309
C4 | 500 | 43 | 39.8 | 38.4462 | 40.4154 | 2.3384 | 93.3279 | 86.3826 | 83.4443 | 87.7183 | 85.8484
C4 | 1000 | 33.996 | 43.513 | 41.9162 | 39.8084 | 5.0966 | 73.7855 | 94.4413 | 90.9756 | 86.4008 | 90.6059
C4 | 1500 | 32.6 | 36.7159 | 39.7206 | 36.3455 | 3.5747 | 70.7556 | 79.6887 | 86.2102 | 78.8848 | 81.5946
C4 | 2000 | 37.4753 | 31.4741 | 30.5503 | 33.1666 | 3.76 | 81.3371 | 68.3119 | 66.3069 | 71.9853 | 68.868
C4 | 2500 | 27 | 26 | 30.5389 | 27.8463 | 2.3849 | 58.6013 | 56.4308 | 66.2822 | 60.4381 | 61.0504
Acetone | 0 | 44.511 | 49.4 | 44.3114 | 46.0741 | 2.882 | 96.6074 | 107.2186 | 96.1742 | 100 | 101.1309
MMC | 3 | 45.114 | 40.1198 | 41.0359 | 42.0899 | 2.6587 | 97.9162 | 87.0766 | 89.0649 | 91.3526 | 89.1647
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Total BN | G2 Total BN | G3 Total BN | Total BN | Total MN | G1 MN% | G2 MN% | G3 MN% | Avg. MN% | Std Dev
acetone | 0 | 1004 | 1000 | 1001 | 3005 | 6 | 0.1992 | 0.1 | 0.2997 | 0.19963 | 0.19978
C4 | 500 | 1002 | 1000 | 1001 | 3003 | 6 | 0.2994 | 0.1 | 0.1998 | 0.19973 | 0.16651
C4 | 1000 | 1002 | 1003 | 1001 | 3006 | 19 | 0.2994 | 0.79761 | 0.7992 | 0.63207 | 0.74296
C4 | 1500 | 1000 | 600 | 1000 | 2600 | 10 | 0.2 | 0.5 | 0.5 | 0.4 | 0.46667
C4 | 2000 | 1000 | 530 | 1000 | 2530 | 10 | 0.2 | 0.9434 | 0.3 | 0.48113 | 0.57484
C4 | 2500 | 1009 | 632 | 1001 | 2642 | 19 | 0.99108 | 0.31646 | 0.6993 | 0.66895 | 0.56157
Acetone | 0 | 1004 | 1000 | 1001 | 3005 | 6 | 0.1992 | 0.1 | 0.2997 | 0.19963 | 0.19978
MMC | 3 | 1009 | 1008 | 1011 | 3028 | 39 | 0.99108 | 0.89286 | 1.9782 | 1.2874 | 1.3862
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Total cell count X 105 | G2 Total cell count X 105 | G3 Total cell count X 105 | Avg. Total cell count X 105 | SD Total Cell Count | G1 % Relative Total Cell Count | G2 % Relative Total Cell Count | G3 % Relative Total Cell Count | Avg. % Relative Total Cell Count | Std. Dev. % Relative Total Cell Count
acetone | 0 | 1.6133 | 2.4347 | 3.3733 | 2.4738 | 0.88065 | 65.2168 | 98.4181 | 136.3624 | 99.9991 | 35.5991
C4 | 500 | 2.1707 | 2.816 | 3.344 | 2.7769 | 0.58764 | 87.7462 | 113.833 | 135.1767 | 112.252 | 23.7547
C4 | 1000 | 2.4347 | 1.9653 | 2.464 | 2.288 | 0.27982 | 98.4181 | 79.4459 | 99.6038 | 92.4893 | 11.3114
C4 | 1500 | 2.4053 | 1.7893 | 1.7893 | 1.9947 | 0.35565 | 97.2323 | 72.3314 | 72.3314 | 80.6317 | 14.3766
C4 | 2000 | 1.848 | 1.8187 | 3.8133 | 2.4933 | 1.1432 | 74.7029 | 73.5171 | 154.1488 | 100.7896 | 46.2142
C4 | 2500 | 1.7893 | 1.936 | 3.5787 | 2.4347 | 0.99344 | 72.3314 | 78.2602 | 144.6627 | 98.4181 | 40.1586
Acetone | 0 | 1.6133 | 2.4347 | 3.3733 | 2.4738 | 0.88065 | 65.2168 | 98.4181 | 136.3624 | 99.9991 | 35.5991
MMC | 3 | 4.5173 | 4.2533 | 2.5813 | 3.784 | 1.0499 | 182.6071 | 171.9352 | 104.3469 | 152.9631 | 42.4396
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Viable cell count X 105 | G2 Viable cell count X 105 | G3 Viable cell count X 105 | Avg. Viable cell count X 105 | Std. Dev. Viable cell Count | G1 % Relative Viable Cell Count | G2 % Relative Viable Cell Count | G3 % Relative Viable Cell Count | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count
acetone | 0 | 1.496 | 2.0533 | 2.6693 | 2.0729 | 0.58691 | 72.1694 | 99.0561 | 128.7729 | 99.9995 | 28.3135
C4 | 500 | 1.9067 | 2.552 | 2.5813 | 2.3467 | 0.38133 | 91.9806 | 123.1125 | 124.5276 | 113.2069 | 18.3961
C4 | 1000 | 2.0533 | 1.7013 | 1.848 | 1.8676 | 0.17681 | 99.0561 | 82.075 | 89.1505 | 90.0939 | 8.5297
C4 | 1500 | 1.9947 | 1.5253 | 1.6427 | 1.7209 | 0.24425 | 96.2259 | 73.5845 | 79.2449 | 83.0184 | 11.783
C4 | 2000 | 1.496 | 0.99733 | 1.9653 | 1.4862 | 0.48407 | 72.1694 | 48.1129 | 94.8108 | 71.6977 | 23.3525
C4 | 2500 | 1.672 | 1.7013 | 2.4933 | 1.9556 | 0.46596 | 80.6599 | 82.075 | 120.2824 | 94.3391 | 22.4787
Acetone | 0 | 1.496 | 2.0533 | 2.6693 | 2.0729 | 0.58691 | 72.1694 | 99.0561 | 128.7729 | 99.9995 | 28.3135
MMC | 3 | 3.9013 | 3.0507 | 2.024 | 2.992 | 0.94004 | 188.2065 | 147.169 | 97.641 | 144.3388 | 45.3491
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G 1 % Viability | G 2 % Viability | G 3 % Viability | Average % Viability | Std. Dev. % Viability
acetone | 0 | 92.7273 | 84.3373 | 79.1304 | 85.3984 | 6.8602
C4 | 500 | 87.8378 | 90.625 | 77.193 | 85.2186 | 7.0887
C4 | 1000 | 84.3373 | 86.5672 | 75 | 81.9682 | 6.1367
C4 | 1500 | 82.9268 | 85.2459 | 91.8033 | 86.6587 | 4.6038
C4 | 2000 | 80.9524 | 54.8387 | 51.5385 | 62.4432 | 16.1141
C4 | 2500 | 93.4426 | 87.8788 | 69.6721 | 83.6645 | 12.433
Acetone | 0 | 92.7273 | 84.3373 | 79.1304 | 85.3984 | 6.8602
MMC | 3 | 86.3636 | 71.7241 | 78.4091 | 78.8323 | 7.3289

## April 13,2009 C-4
P&G Experiment Number: 20090413 | [6 empty] | IV. Results: 48h/48h MMC control tissues are positive averaging 1.2% MNBN per thousand BN cells,and statistically significant (p <0.05). Acetone control tissues are negative averaging 0.2 MNBN per thousand cells. Coded chemical C-4 shows toxicity by % relative BN and is positive for MNBN and statistically significant (p <0.05) at concentrations of 1000 µg/ml and 2500µg/ml.
Date of tissue shipment |  | 2009-04-13
Date Received: |  | 2009-04-14
Tissue model & lot #, donor |  | MatTek EpiDerm™, lot 11623, kits A and B, donor 254
Name of protocol | modified IIVS
Date of experiment |  | 2009-04-13 |  |  |  |  | Conclusions and recommendations: Coded chemical C4 is positive for MN.
incubation time |  | 72 and 48 hours
# Tissues |  | 48
I. Purpose: COLIPA blinded study. The details can be found in the table below in the "Work Plan".
II. Method: We will use modified IIVS MN protocol. Note: COLIPA recommendation for dose range of coded chemicals: A-1 up to 100mg/ml, B-8 1 - 20 µg/ml C-4 250 - 9000µg/ml
III. Work Plan: Tuesday am: unpack tissues and transfer to 6 well labeled TC plates containing 1ml of warm NMM (provided) per well. Allow tissues to recover overnight in a 37ºC CO2 incubator. Wednesday am: change media in all tissues to freshly made NMM w/ 3µg/ml Cytochalasin B (cytoB), make fresh dilutions of chemicals and apply a 10µl topical dose of each TA concentration and controls, to the appropriate tissues Thursday am: change media to freshly made NMM w/ 3µg/ml cytoB, make fresh dilutions of chemicals and apply the second10µl topical dose to tissues and controls. Friday am: Harvest and process cells from tissues.
III. Work Plan 2 doses, 48hr CytB, 48hr harvest
TA | Concentrationµg/ml | # Tissues | Monday | Tuesday | Wednesday | Thursday | Friday
acetone | 0 µg/ml | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 | 500 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 | 1000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 | 1500 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 | 2000 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
Code C-4 | 2500 | 3 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
MMC | 3 µg/ml | 7 | NA | NMM overnight | dose + cytB | dose + cytB | Harvest
25
total 21
20090413 Summary Table
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | Avg. Relative % Binuc. | SD of Relative % Binuc. | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count | Avg. MN% | Total MN | Total BN | P value
acetone | 0 | 99.9999 | 11.9927 | 100.0017 | 42.3658 | 0.16667 | 0.18889 | 3000 |  | 5
C4 | 500 | 81.2624 | 14.7483 | 119.405 | 59.8062 | 0.4 | 0.4 | 3000 | 0.071448 | 12
C4 | 1000 | 77.6626 | 9.9982 | 43.9882 | 38.3646 | 0.72572 | 0.70123 | 2591 | 0.0010466 | 19
C4 | 1500 | 75.5453 | 18.575 | 71.643 | 7.3405 | 0.66633 | 0.72211 | 3002 | 0.0020123 | 20
C4 | 2000 | 52.9166 | 3.8693 | 63.8071 | 55.6005 | 1.4555 | 1.374 | 3018 | 3.7728e-09 | 44
C4 | 2500 | 50.4303 | 12.775 | 54.4785 | 48.4896 | 1.525 | 1.525 | 1888 | 2.5379e-08 | 29
Acetone | 0 | 99.9999 | 11.9927 | 100.0017 | 42.3658 | 0.16667 | 0.18889 | 3000
MMC | 3 | 89.8758 | 15.5562 | 99.5599 | 38.8263 | 1.2 | 1.2333 | 3000 | 3.6239e-07
Raw Data
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Bi% | G2 Bi% | G3 Bi% | Avg. Bi% | Std Dev | G1 Relative % Binuc. | G2 Relative % Binuc. | G3 Relative % Binuc. | Avg. Relative % Binuc. | SDf Relative % Binuc.
acetone | 0 | 47.6667 | 38.1238 | 40.1198 | 41.9701 | 5.0333 | 113.5729 | 90.8355 | 95.5913 | 99.9999 | 11.9927
C4 | 500 | 41.1178 | 29.4 | 31.8 | 34.1059 | 6.1899 | 97.9692 | 70.0499 | 75.7682 | 81.2624 | 14.7483
C4 | 1000 | 28.2306 | 36.6 | 32.9545 | 32.5951 | 4.1963 | 67.2636 | 87.2049 | 78.5191 | 77.6626 | 9.9982
C4 | 1500 | 26.5469 | 40.6746 | 27.8978 | 31.7064 | 7.796 | 63.2519 | 96.9133 | 66.4707 | 75.5453 | 18.575
C4 | 2000 | 23.4 | 20.3593 | 22.8682 | 22.2092 | 1.624 | 55.754 | 48.509 | 54.4869 | 52.9166 | 3.8693
C4 | 2500 | 15.6 | 26.297 | 21.6 | 21.1657 | 5.3617 | 37.1693 | 62.6564 | 51.4652 | 50.4303 | 12.775
Acetone | 0 | 47.6667 | 38.1238 | 40.1198 | 41.9701 | 5.0333 | 113.5729 | 90.8355 | 95.5913 | 99.9999 | 11.9927
MMC | 3 | 30.2187 | 40.8284 | 42.1158 | 37.721 | 6.529 | 72.0005 | 97.2797 | 100.3471 | 89.8758 | 15.5562
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Total BN | G2 Total BN | G3 Total BN | Total BN | Total MN | G1 MN% | G2 MN% | G3 MN% | Avg. MN% | Std Dev
acetone | 0 | 1000 | 1000 | 1000 | 3000 | 5 | 0.1 | 0.2 | 0.2 | 0.16667 | 0.18889
C4 | 500 | 1000 | 1000 | 1000 | 3000 | 12 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4
C4 | 1000 | 1001 | 590 | 1000 | 2591 | 19 | 0.7992 | 0.67797 | 0.7 | 0.72572 | 0.70123
C4 | 1500 | 1002 | 1000 | 1000 | 3002 | 20 | 0.499 | 1.1 | 0.4 | 0.66633 | 0.72211
C4 | 2000 | 1000 | 1000 | 1018 | 3018 | 44 | 1.7 | 0.8 | 1.8664 | 1.4555 | 1.374
C4 | 2500 | 0 | 878 | 1010 | 1888 | 29 |  | 1.3667 | 1.6832 | 1.525 | 1.525
Acetone | 0 | 1000 | 1000 | 1000 | 3000 | 5 | 0.1 | 0.2 | 0.2 | 0.16667 | 0.18889
MMC | 3 | 1000 | 1000 | 1000 | 3000 | 36 | 1.1 | 1.1 | 1.4 | 1.2 | 1.2333
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Total cell count X 105 | G2 Total cell count X 105 | G3 Total cell count X 105 | Avg. Total cell count X 105 | SD Total Cell Count | G1 % Relative Total Cell Count | G2 % Relative Total Cell Count | G3 % Relative Total Cell Count | Avg. % Relative Total Cell Count | Std. Dev. % Relative Total Cell Count
acetone | 0 | 2.1413 | 2.4053 | 5.7787 | 3.4418 | 2.0281 | 62.2155 | 69.8859 | 167.8966 | 99.9994 | 58.9257
C4 | 500 | 4.6347 | 1.6427 | 5.6027 | 3.96 | 2.0644 | 134.6582 | 47.727 | 162.783 | 115.0561 | 59.9805
C4 | 1000 | 2.8747 | 0.73333 | 2.024 | 1.8773 | 1.0782 | 83.5222 | 21.3067 | 58.8064 | 54.5451 | 31.3259
C4 | 1500 | 2.904 | 3.0507 | 2.5227 | 2.8258 | 0.27255 | 84.3745 | 88.6358 | 73.295 | 82.1017 | 7.9189
C4 | 2000 | 3.608 | 3.08 | 1.496 | 2.728 | 1.0991 | 104.8289 | 89.4881 | 43.4656 | 79.2609 | 31.9344
C4 | 2500 | 0.352 | 2.6987 | 2.6693 | 1.9067 | 1.3465 | 10.2272 | 78.4086 | 77.5563 | 55.3974 | 39.1208
Acetone | 0 | 2.1413 | 2.4053 | 5.7787 | 3.4418 | 2.0281 | 62.2155 | 69.8859 | 167.8966 | 99.9994 | 58.9257
MMC | 3 | 3.2853 | 1.496 | 2.2 | 2.3271 | 0.90141 | 95.4539 | 43.4656 | 63.92 | 67.6132 | 26.1902
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G1 Viable cell count X 105 | G2 Viable cell count X 105 | G3 Viable cell count X 105 | Avg. Viable cell count X 105 | Std. Dev. Viable cell Count | G1 % Relative Viable Cell Count | G2 % Relative Viable Cell Count | G3 % Relative Viable Cell Count | Average % Relative Viable Cell Count | Std. Dev. % Relative Viable Cell Count
acetone | 0 | 1.936 | 2.024 | 3.9013 | 2.6204 | 1.1102 | 73.8931 | 77.2519 | 148.9059 | 100.017 | 42.3723
C4 | 500 | 3.9893 | 1.32 | 4.0773 | 3.1289 | 1.5672 | 152.2646 | 50.3817 | 155.6234 | 119.4232 | 59.8153
C4 | 1000 | 1.848 | 0.64533 | 1.61 | 1.3678 | 0.63687 | 70.5344 | 24.631 | 61.4504 | 65.9924 | 24.3081
C4 | 1500 | 1.7013 | 2.0827 | 1.848 | 1.8773 | 0.19235 | 64.9364 | 79.4911 | 70.5344 | 71.6539 | 7.3417
C4 | 2000 | 2.6693 | 2.3467 | 0.88 | 1.9653 | 0.95367 | 101.883 | 89.5674 | 33.5878 | 95.7252 | 36.3997
C4 | 2500 | 0.23467 | 2.4347 | 1.848 | 1.5058 | 1.1392 | 8.9567 | 92.9262 | 70.5344 | 81.7303 | 43.4819
Due to questionable cell counts these tissues will not be invalidated unless they have >60% toxicity by % relative binucleation.
Acetone | 0 | 1.936 | 2.024 | 3.9013 | 2.6204 | 1.1102 | 73.8931 | 77.2519 | 148.9059 | 100.017 | 42.3723
MMC | 3 | 2.9627 | 1.41 | 1.8187 | 2.0638 | 0.80483 | 113.0789 | 53.8168 | 69.4148 | 78.7701 | 30.7187
48hr harvest /48hr cyotB Test Article Name | Test Article Conc. (µg/ml) | G 1 % Viability | G 2 % Viability | G 3 % Viability | Average % Viability | Std. Dev. % Viability
acetone | 0 | 90.411 | 84.1463 | 67.5127 | 80.69 | 11.834
C4 | 500 | 86.0759 | 80.3571 | 72.7749 | 79.736 | 6.6723
C4 | 1000 | 64.2857 | 88 | 79.5455 | 77.2771 | 12.0188
C4 | 1500 | 58.5859 | 68.2692 | 73.2558 | 66.7036 | 7.4592
C4 | 2000 | 73.9837 | 76.1905 | 58.8235 | 69.6659 | 9.4544
C4 | 2500 | 66.6667 | 90.2174 | 69.2308 | 75.3716 | 12.9206
Acetone | 0 | 90.411 | 84.1463 | 67.5127 | 80.69 | 11.834
MMC | 3 | 90.1786 | 94.2513 | 82.6667 | 89.0322 | 5.8768